*************************************************************************

*                        EN 223 LEG 1 & 2                               *

*               Documentation of edits on hydro files                   *

*************************************************************************

STATION 11

bottle #4   @ pr = 3909.5

** bad ctd Temperature in record tag file

replaced with temp value from ctdlist84

T         theta       sig 0

___________________________________________

old value   2.326       1.993      27.970

new value   2.407       2.071      27.891

bottle #1    @ pr = 4864.8 db

*** bad ctd conductivity in record tag file

changes in .hyd file (values from ctdlist84) :

sig0        theta

_____________________________________

old value   27.880       1.883

new value   27.900       1.833

_______________________________________________________________________

STATION  18

bottle #1   @ pr = 3609.0 db

**** bad ctd conductivity value in record tag file

changes in .hyd file (values from ctdlist84) :

sig0        theta

_____________________________________

old value   27.879       2.154

new value   27.896       1.193

_______________________________________________________________________

STATION  24

bottle #4   @ pr = 653.0 db

**** bad ctd conductivity value in record tag file

changes in .hyd file (values from ctdlist84) :

sig0        theta

_____________________________________

old value   27.515       3.393

new value   27.735       3.356

_______________________________________________________________________

STATION  29

bottle #7   @ pr = 750.4 db

**** bad ctd conductivity value in record tag file

changes in .hyd file (values from ctdlist84) :

sig0        theta

_____________________________________

old value   34.181       3.130

new value   27.730       3.173