! DOC FILE FOR KN73 STATIONS 121-136 BRYDEN'S LEG

! PROCESSED MARCH 1983 BY MARY RAYMER

! WATER SAMPLE FILES BUILT THRO CTROS AND PUT

! INTO GEORGI FORMAT ON VAX THRO HYDRDOUT

! NO WATER SAMMPLES BUILT FOR 129-131

!  STATIONS 121-135 ALL HAD SAME CCR ( NO BIAS USED)

! OF 1.00276E-3.  THESE STATIONS USED CTD 7. STATION 136

! USED CTD 8 AND A CCR OF .99995E-3 USED. BOTH USED

! POST CRUISE TEMPERATURE AND PRESSURE CALIBRATIONS

! CTD#7= PRESSURE CAL= LINEAR WITH SLOPE OF .1, TEMPERATURE

! CALS OF .49981E-3,.012 TC=.3

! CTD#8 = .1 PRESSURE, TEMP=.49974E-3,.0205,.075

! THIS BEFORE DAYS OF CUBIC PRESSURE , QUADRATIC TEMP AND

! BIAS IN COND !!!

! O2 CALS DONE USING MILLARDS NEW O2 FITTING ROUTINE.

! VERY FEEW BOTTLES IN UPPER WATER SO O2 QUESTIONABLE

! THERE. STAT 136 USED NUMBERS SIMILAR TO END STATIONS

! OF KN73 LEG 10 I.E. .16E-2,-.040,.00016 - UPPER

! WATER QUESTIONABLE HERE - STATION ONLY WENT TO 1000M.

! ON MOST OF STATIONS THE TOP LEVEL HAD TO BE EDITED OUT

! TWO STATIONS HAD TO BE RELOGGED AND LOADED SEPERATELY

! ( STATIONS 125 AND 130 )

! THIS SECTIONS WAS DONE AROUND THE THERMISTER CHAIN

! ( STATION 136 ) AND AROUND THE MOORING