**********************************************************************

*******                                                        *******

*******                      r/v KNORR                         *******

*******                         P6                             *******

*******                    MAIDEN VOYAGE                       *******

*******                                                        *******

**********************************************************************

Chief Scientist (Leg 3):  Harry Bryden

Chief Scientist (leg 4):  Mike McCartney

Chief Scientist (Leg 5):  John Toole

Project Name:  P6  TPS 32 South

Dates (leg3):  02 May 1992 - 26 May 1992

Ports-of-call (leg3):  Valparaiso, Chile - Easter Island

Dates (leg4):  30 May 1992 - 06 July 1992

Ports-of-call (leg4):  Easter Island - Auckland, New Zealand

Dates (leg5):  13 July 1992 - 01 August 1992

Ports-of-call (leg5):  Auckland, NZ - Sydney, Australia

CTD instrument and station numbers:

CTD 10  Stations LEG 3: 1,4-72

LEG 4: 74,75,86-111,113-140

142-186,188

LEG 5:

CTD 9   Stations LEG 3: 3

LEG 4: 76-85,112,141,187

LEG 5:

CTD 7   Stations LEG 3: 2

LEG 4: 73

LEG 5:

-------------------------------------------------------------------------------

LEG 3       CTD Software Tech:   Carol MacMurray

LEG 3       CTD Hardware Tech:   Gary Bond

LEG 3     Data Quality Expert:   Bob Millard

LEG 3             Hydrography:   Rosette salinity samples - Theresa Turner

Rosette oxygen samples   - George Knapp

LEG 3                            Rosette nutrient samples - Hernan Garcia OSU

Andy Ross OSU

LEG 3                            Rosette Freon samples    - Kevin Sullivan UM

Kevin Maillet UM

LEG 3                            Rosette Tritium/Helium   - Mike Mathewson

LEG 3                            CO2                      - Ken Johnson Brookhaven

Kevin Wills Brookhaven

Craig Neil  Brookhaven

LEG 3                            C-14                     - Rich Rotter Princeton

LEG 3                    ADCP:   Michael Kosro OSU

LEG 3          Watch Standers:   Marshall Swartz

Susan Hautala

Paul Robbins

Phil Morgan

Alistair Adcroft

Carmen Jara

Sergio Salinas

LEG 3               SSG Techs:   Harold Rochat

Earl Young

--------------------------------------------------------------------------------

Leg 4       CTD Software Tech:   Carol MacMurray

Leg 4           CTD Data Asst:   Sarah Zimmermann

Leg 4       CTD Hardware Tech:   Peter Landry

Leg 4             Hydrography:   Rosette salinity samples - Firuse Stalcup

Rosette oxygen samples   - Marv Stalcup

Leg 4                            Rosette nutrient samples - Joe Jennings  OSU

Dennis Guffy Texas A&M

Leg 4                            Rosette Freon samples    - Rick VanWoy Scripps

Peter Salameh Scripps

Leg 4                            Rosette Tritium/Helium   - Scot Birdwhistell

LEG 4                            CO2                      - Richard Wilke Brookhaven

David Hunter Brookhaven

Meredith Anderson  Brookhaven

LEG 4                            C-14                     - Gerry McDonald Princeton

LEG 4                    ADCP:   Stephen Pierce OSU

LEG 4          Watch Standers:   Jeff Kinder

Elise Ralph

Molly Baringer

Bernadette Sloyan

David Vaudrey

LEG 4                SSG Tech:   Lenny Boutin

--------------------------------------------------------------------------------

LEG 5       CTD Software Tech:   Ellyn Montgomery

LEG 5       CTD Hardware Tech:   Peter Landry

LEG 5             Hydrography:   Rosette salinity samples - Dave Wellwood

Rosette oxygen samples   - George Knapp

LEG 5                            Rosette nutrient samples - Joe Jennings OSU

-------------------------------------------------------------------------------

Shorebased processor:

MicroVAX Data subdirectory: R2D2:<CTD.KN138P003>

NOTE:  The ship departed Valparaiso as Knorr 138 LEG 3.

We will keep the directory KN138 throughout all three

legs and increment the station numbers.

-------------------------------------------------------------------------------

************************************************************************

*                                                                      *

*                   CRUISE SUMMARY STATION LISTING                     *

*                                                                      *

************************************************************************

CTDLIST84   MAY 16,1984

Run on 25-MAY-92  at 05:54:24

Using SUBINDEX.CTD of date:

R/V KNORR CRUISE 138 P6

STATION  SUMMARY

LEG 3

<CTD.KN138P003>

SH CRU STAT DV CST CTD DA MO YR  ST GMT  END GMT  LATITUDE   LONGITUDE   P MAX

-- --- ---- -- --- --- -- -- --  ------  -------  --------   ---------   ------

KN 138   1   X 001 10   3  5 92   1238    1432   -32 30.11   -72 39.96   6095.0

KN 138   4   X 001 10   4  5 92   1720    1734   -32 29.96   -71 30.11    107.0

KN 138   5   X 001 10   4  5 92   1910    1923   -32 30.08   -71 40.06    507.0

KN 138   6   X 001 10   4  5 92   2107    2157   -32 30.01   -71 49.97   2009.0

KN 138   7   E 001 10   5  5 92    108     200   -32 29.45   -71 59.91   2425.0

KN 138   8   E 001 10   5  5 92    558     653   -32 29.95   -72 10.29   2209.0

KN 138   9   E 002 10   5  5 92   1234    1424   -32 32.73   -72 19.78   3519.0

KN 138  10   X 001 10   5  5 92   1924    2102   -32 29.83   -72 29.53   4761.0

KN 138  11   X 001 10   6  5 92    254     438   -32 29.71   -72 49.95   5351.0

KN 138  12   X 002 10   6  5 92   1154    1314   -32 30.21   -72 59.85   4685.0

KN 138  13   X 001 10   6  5 92   1757    1915   -32 29.95   -73 20.18   3741.0

KN 138  14   X 001 10   7  5 92     47     208   -32 29.78   -73 59.98   4125.0

KN 138  15   X 001 10   7  5 92    728     854   -32 29.90   -74 40.30   4027.0

KN 138  16   X 001 10   7  5 92   1434    1605   -32 29.91   -75 19.89   4251.0

KN 138  17   X 001 10   7  5 92   2239       5   -32 29.99   -76  0.14   4209.0

KN 138  18   X 001 10   8  5 92    644     804   -32 30.10   -76 40.05   4273.0

KN 138  19   X 001 10   8  5 92   1357    1507   -32 29.80   -77 19.45   3587.0

KN 138  20   X 001 10   8  5 92   2101    2121   -32 30.16   -78  0.25   4069.0

KN 138  21   X 001 10   9  5 92    400     522   -32 30.32   -78 39.63   4057.0

KN 138  22   X 001 10   9  5 92   1435    1540   -32 29.74   -79 20.15   3471.0

KN 138  23   X 001 10   9  5 92   2243    2352   -32 30.12   -79 59.83   2889.0

KN 138  24   X 001 10  10  5 92    616     737   -32 30.00   -80 39.90   3947.0

KN 138  25   X 001 10  10  5 92   1445    1611   -32 29.80   -81 19.91   3935.0

KN 138  26   X 001 10  10  5 92   2209    2327   -32 29.64   -82  0.03   4033.0

KN 138  27   X 001 10  11  5 92    535     701   -32 30.04   -82 39.83   3909.0

KN 138  28   X 001 10  11  5 92   2045    2152   -32 30.04   -83 20.09   3737.0

KN 138  29   E 001 10  12  5 92    303     420   -32 30.00   -84  0.37   3817.0

KN 138  30   X 001 10  12  5 92    937    1036   -32 29.94   -84 40.25   3879.0

KN 138  31   E 001 10  12  5 92   1604    1720   -32 29.83   -85 20.03   4019.0

KN 138  32   X 001 10  12  5 92   2258       2   -32 29.79   -86 19.73   3965.0

KN 138  33   X 001 10  13  5 92    520     634   -32 30.02   -86 40.00   3799.0

KN 138  34   X 001 10  13  5 92   1220    1324   -32 30.24   -87 19.98   3867.0

KN 138  35   X 001 10  13  5 92   1913    2021   -32 30.04   -88  0.04   3749.0

KN 138  36   X 001 10  14  5 92    142     249   -32 29.98   -88 40.02   3895.0

KN 138  37   X 001 10  14  5 92    801     905   -32 30.02   -89 20.04   3405.0

KN 138  38   X 001 10  14  5 92   1403    1523   -32 30.10   -90  0.10   3751.0

KN 138  39   X 001 10  14  5 92   2112    2233   -32 30.00   -90 40.09   3721.0

KN 138  40   X 001 10  15  5 92    730     848   -32 29.96   -91 19.90   3121.0

KN 138  41   X 001 10  15  5 92   1435    1558   -32 30.01   -91 59.89   3591.0

KN 138  42   X 001 10  15  5 92   2126    2247   -32 30.04   -92 40.09   4411.0

KN 138  43   X 001 10  16  5 92    450     550   -32 30.14   -93 20.26   2869.0

KN 138  44   X 001 10  16  5 92   1045    1200   -32 30.20   -94  0.05   3981.0

KN 138  45   X 001 10  16  5 92   1851    2000   -32 29.91   -94 39.98   3745.0

KN 138  46   X 001 10  17  5 92    104     221   -32 30.16   -95 20.16   3827.0

KN 138  47   X 001 10  17  5 92    713     832   -32 30.00   -96  0.09   3933.0

KN 138  48   X 001 10  17  5 92   1410    1537   -32 29.93   -96 39.66   3939.0

KN 138  49   X 001 10  17  5 92   2113    2217   -32 29.93   -97 20.08   3643.0

KN 138  50   X 001 10  18  5 92    515     633   -32 30.09   -97 59.93   2883.0

KN 138  51   X 001 10  18  5 92   1602    1725   -32 30.04   -98 40.03   3829.0

KN 138  52   X 001 10  19  5 92    215     327   -32 29.75   -99 20.09   4077.0

KN 138  53   X 001 10  19  5 92   1012    1123   -32 29.89   -99 59.95   3805.0

KN 138  54   E 001 10  19  5 92   1735    1855   -32 29.94  -100 39.98   3567.0

KN 138  55   X 001 10  20  5 92     13     120   -32 30.09  -101 30.11   3625.0

KN 138  56   X 001 10  20  5 92    630     745   -32 29.96  -102  0.11   3877.0

KN 138  57   X 001 10  20  5 92   1315    1414   -32 29.91  -102 39.91   3673.0

KN 138  58   X 001 10  20  5 92   1927    2039   -32 30.02  -103 20.04   3841.0

KN 138  59   X 001 10  21  5 92    200     300   -32 30.02  -104  0.13   3057.0

KN 138  60   X 001 10  21  5 92    817     921   -32 29.93  -104 40.13   3531.0

KN 138  61   X 001 10  21  5 92   1440    1543   -32 30.09  -105 20.08   3255.0

KN 138  62   X 001 10  21  5 92   2046    2200   -32 30.00  -106  0.07   3659.0

KN 138  63   E 002 10  22  5 92    350     557   -32 30.06  -106 40.02   3039.0

KN 138  64   X 001 10  22  5 92   1148    1248   -32 29.94  -107 19.92   3219.0

KN 138  65   X 001 10  22  5 92   1824    1926   -32 29.99  -108  0.10   3257.0

KN 138  66   X 001 10  23  5 92    128     223   -32 30.06  -108 39.93   3055.0

KN 138  67   X 001 10  23  5 92    735     857   -32 30.00  -109 20.16   4539.0

KN 138  68   X 001 10  23  5 92   1445    1546   -32 30.13  -110  0.06   2771.0

KN 138  69   X 001 10  23  5 92   2027    2122   -32 30.02  -110 40.02   3041.0

KN 138  70   E 001 10  24  5 92    508     551   -32 29.93  -111 20.06   2425.0

KN 138  71   E 001 10  24  5 92   1045    1133   -32 29.92  -111 59.94   2753.0

KN 138  72   E 001 10  24  5 92   1657    1748   -32 29.88  -112 40.24   2709.0

CRUISE     MIN/MAX DATE    MIN LAT/LON MX LAT/LON   INST   NV MIN MAX TOT P WH

--------- ----------------- ----------- ---------- -------- -- --- --- --- - --

KN138P003 92- 5- 3 92- 5-24  -33. -113. -32.  -72. 10 0 0 0  7   1  72  70 Y

CTDLIST84   MAY 16,1984

Run on  5-JUL-92  at 18:33:57

Using SUBINDEX.CTD of date:

R/V KNORR CRUISE 138 P6

STATION  SUMMARY

LEG 4

<CTD.KN138P003>

SH CRU STAT DV CST CTD DA MO YR  ST GMT  END GMT  LATITUDE   LONGITUDE   P MAX

-- --- ---- -- --- --- -- -- --  ------  -------  --------   ---------   ------

KN 138  75   X 001 10   1  6 92   1550    1645   -32 30.24  -113 20.24   2865.0

KN 138  76   X 001  9   2  6 92    141     233   -32 30.19  -113 59.89   3007.0

KN 138  77   X 001  9   2  6 92    745     840   -32 30.00  -114 40.09   2931.0

KN 138  78   X 001  9   2  6 92   1412    1459   -32 30.04  -115 19.92   3257.0

KN 138  79   E 002  9   2  6 92   2255      20   -32 29.48  -116  0.73   2913.0

KN 138  80   X 001  9   3  6 92    612     655   -32 29.70  -116 39.08   2209.0

KN 138  81   X 001  9   3  6 92   1221    1320   -32 29.94  -117 19.18   3403.0

KN 138  82   X 001  9   3  6 92   1845    1945   -32 30.19  -117 59.28   3475.0

KN 138  83   X 001  9   4  6 92    113     213   -32 30.01  -118 39.56   3459.0

KN 138  84   X 001  9   4  6 92    733     840   -32 30.06  -119 20.14   3481.0

KN 138  85   X 001  9   4  6 92   1347    1449   -32 30.06  -119 59.52   3195.0

KN 138  86   X 001 10   4  6 92   2242    2344   -32 30.12  -120 40.02   3461.0

KN 138  87   X 001 10   5  6 92    508     607   -32 30.04  -121 19.32   3295.0

KN 138  88   X 001 10   5  6 92   1143    1238   -32 30.16  -122  0.08   3089.0

KN 138  89   X 001 10   5  6 92   1800    1845   -32 29.52  -122 39.46   2391.0

KN 138  90   X 001 10   6  6 92      3     106   -32 29.95  -123 19.91   3541.0

KN 138  91   X 001 10   6  6 92    622     710   -32 29.85  -123 59.95   2379.0

KN 138  92   X 001 10   6  6 92   1210    1320   -32 30.21  -124 40.02   3735.0

KN 138  93   X 001 10   6  6 92   1859    1942   -32 30.56  -125 19.95   2321.0

KN 138  94   X 001 10   7  6 92    113     220   -32 29.80  -125 59.60   3635.0

KN 138  95   X 001 10   7  6 92    911    1000   -32 30.02  -126 40.05   2439.0

KN 138  96   X 001 10   7  6 92   1537    1641   -32 29.97  -127 19.70   3299.0

KN 138  97   X 001 10   7  6 92   2239    2354   -32 30.06  -128  0.06   3965.0

KN 138  98   X 001 10   8  6 92    525     636   -32 29.70  -128 40.42   4321.0

KN 138  99   X 001 10   8  6 92   1233    1348   -32 29.93  -129 19.76   4159.0

KN 138 100   X 001 10   8  6 92   2009    2125   -32 30.09  -130  0.03   4143.0

KN 138 101   X 001 10   9  6 92    308     426   -32 29.99  -130 39.94   3711.0

KN 138 102   X 001 10   9  6 92   1127    1246   -32 30.10  -131 20.03   4241.0

KN 138 103   X 001 10   9  6 92   1817    1930   -32 29.86  -132  0.49   4325.0

KN 138 104   X 001 10  10  6 92    101     222   -32 29.97  -132 39.85   4415.0

KN 138 105   E 001 10  10  6 92    745     907   -32 30.18  -133 20.53   4325.0

KN 138 106   X 001 10  10  6 92   1420    1544   -32 29.97  -134  0.25   4215.0

KN 138 107   X 001 10  10  6 92   2111    2229   -32 30.03  -134 39.84   4343.0

KN 138 108   E 001 10  11  6 92    354     518   -32 30.06  -135 20.07   4405.0

KN 138 109   X 001 10  11  6 92   1041    1206   -32 29.99  -136  0.11   4451.0

KN 138 110   X 001 10  11  6 92   1728    1837   -32 29.81  -136 39.90   4395.0

KN 138 111   E 001 10  12  6 92     45     208   -32 29.95  -137 20.13   4351.0

KN 138 112   E 001  9  13  6 92    145     312   -32 29.70  -137 59.60   4911.0

KN 138 113   X 001 10  13  6 92    825     953   -32 30.00  -138 39.83   4625.0

KN 138 114   X 001 10  13  6 92   1700    1830   -32 29.97  -139 20.16   4995.0

KN 138 115   X 001 10  14  6 92    203     330   -32 25.97  -139 59.85   4809.0

KN 138 116   X 001 10  14  6 92   1737    1914   -32 29.85  -140 40.23   5025.0

KN 138 117   X 001 10  15  6 92    410     538   -32 29.87  -141 29.63   4635.0

KN 138 118   X 001 10  15  6 92   1247    1411   -32 30.08  -142 20.03   4879.0

KN 138 119   X 001 10  15  6 92   2156    2330   -32 30.60  -143  8.97   5621.0

KN 138 120   X 001 10  16  6 92    740     915   -32 29.94  -143 59.92   5137.0

KN 138 121   X 001 10  16  6 92   2203    2337   -32 30.35  -144 49.87   5383.0

KN 138 122   X 001 10  17  6 92   1036    1209   -32 29.97  -145 39.81   5139.0

KN 138 123   X 001 10  17  6 92   2113    2246   -32 29.94  -146 29.99   5217.0

KN 138 124   X 001 10  18  6 92    531     700   -32 29.94  -147 20.69   4767.0

KN 138 125   X 002 10  18  6 92   1252    1411   -32 30.13  -148  9.99   4643.0

KN 138 126   X 001 10  18  6 92   1922    2053   -32 29.98  -148 59.94   5119.0

KN 138 127   X 001 10  19  6 92    215     351   -32 30.09  -149 49.64   5177.0

KN 138 128   X 001 10  19  6 92    947    1117   -32 29.97  -150 40.04   5123.0

KN 138 129   X 001 10  19  6 92   1644    1827   -32 29.92  -151 29.62   5497.0

KN 138 130   X 001 10  20  6 92     15     139   -32 29.95  -152 20.05   4375.0

KN 138 131   X 001 10  20  6 92    651     828   -32 30.02  -153  9.94   5303.0

KN 138 132   X 001 10  20  6 92   1402    1532   -32 30.00  -153 59.69   5161.0

KN 138 133   X 001 10  20  6 92   2017    2300   -32 30.17  -154 50.49   5093.0

KN 138 134   X 001 10  21  6 92    434     613   -32 29.94  -155 40.04   5223.0

KN 138 135   X 001 10  21  6 92   1131    1309   -32 29.97  -156 30.06   5383.0

KN 138 136   X 001 10  21  6 92   1830    2041   -32 29.73  -157 19.98   5447.0

KN 138 137   X 001 10  22  6 92    230     412   -32 30.04  -158  9.95   5791.0

KN 138 138   X 001 10  22  6 92    949    1125   -32 30.11  -158 59.85   5367.0

KN 138 139   X 001 10  22  6 92   1650    1837   -32 29.93  -159 49.99   5415.0

KN 138 140   X 001 10  23  6 92      1     141   -32 29.72  -160 29.62   5621.0

KN 138 142   X 001 10  23  6 92   1005    1139   -32 29.94  -161  9.91   5223.0

KN 138 143   X 001 10  23  6 92   1607    1742   -32 29.98  -161 49.96   5509.0

KN 138 144   X 001 10  23  6 92   2228       5   -32 30.02  -162 30.07   5257.0

KN 138 145   X 001 10  24  6 92    452     628   -32 29.94  -163 10.03   5363.0

KN 138 146   X 001 10  24  6 92   1101    1242   -32 30.05  -163 50.12   5591.0

KN 138 147   E 001 10  24  6 92   1715    1900   -32 29.90  -164 29.71   5697.0

KN 138 148   X 001 10  25  6 92     16     213   -32 29.98  -165  9.97   6459.0

KN 138 149   E 001 10  25  6 92    838    1024   -32 29.87  -165 49.93   5499.0

KN 138 150   X 001 10  25  6 92   1603    1748   -32 29.81  -166 29.96   5523.0

KN 138 151   E 001 10  25  6 92   2253      18   -32 29.98  -167  9.99   4675.0

KN 138 152   X 001 10  26  6 92    324     508   -32 30.15  -167 29.97   5815.0

KN 138 153   X 001 10  26  6 92    903    1045   -32 30.11  -168  0.92   5655.0

KN 138 154   X 001 10  26  6 92   1447    1625   -32 30.04  -168 30.13   5597.0

KN 138 155   X 001 10  26  6 92   2013    2201   -32 29.79  -169  0.23   5571.0

KN 138 156   E 001 10  27  6 92    159     340   -32 30.02  -169 30.23   5601.0

KN 138 157   E 001 10  27  6 92    727     909   -32 29.50  -169 50.69   5709.0

KN 138 158   E 001 10  27  6 92   1315    1455   -32 30.01  -170 15.06   5841.0

KN 138 159   E 001 10  27  6 92   1933    2120   -32 30.00  -170 45.16   5805.0

KN 138 160   X 001 10  28  6 92    200     337   -32 30.01  -171 15.10   5537.0

KN 138 161   E 001 10  28  6 92    633     807   -32 30.11  -171 35.07   4903.0

KN 138 162   E 001 10  28  6 92   1125    1249   -32 29.95  -171 55.03   4421.0

KN 138 163   E 001 10  28  6 92   1614    1755   -32 30.13  -172 25.04   5855.0

KN 138 164   E 001 10  28  6 92   2054    2338   -32 29.93  -172 54.89   6085.0

KN 138 165   E 001 10  29  6 92    259     444   -32 29.95  -173 10.39   5935.0

KN 138 166   E 001 10  29  6 92   2142    2327   -32 30.25  -173 39.97   5761.0

KN 138 167   E 001 10  30  6 92    301     548   -32 29.88  -174  0.05   5867.0

KN 138 168   X 001 10  30  6 92    837    1029   -32 29.82  -174 19.83   5965.0

KN 138 169   X 001 10  30  6 92   1439    1626   -32 30.10  -174 50.13   5855.0

KN 138 170   X 001 10  30  6 92   2027    2214   -32 29.87  -175 15.29   5825.0

KN 138 171   X 001 10   1  7 92    222     409   -32 30.07  -175 45.01   5957.0

KN 138 172   X 001 10   1  7 92    817    1001   -32 30.16  -176 15.03   5761.0

KN 138 173   X 001 10   1  7 92   1424    1616   -32 29.96  -176 45.08   6239.0

KN 138 174   E 001 10   1  7 92   2039    2237   -32 30.12  -177 15.13   6555.0

KN 138 175   X 001 10   2  7 92    335     538   -32 30.00  -177 40.00   6555.0

KN 138 176   X 001 10   2  7 92   1005    1150   -32 30.05  -178  0.03   5975.0

KN 138 177   X 001 10   2  7 92   1518    1648   -32 30.00  -178 17.02   5203.0

KN 138 178   X 001 10   2  7 92   1950    2115   -32 29.95  -178 28.15   4473.0

KN 138 179   X 001 10   3  7 92      5     110   -32 29.91  -178 38.85   3479.0

KN 138 180   X 001 10   3  7 92    409     446   -32 29.92  -178 54.68   1981.0

KN 138 181   X 001 10   3  7 92    936    1030   -32 30.15  -179 34.98   2989.0

KN 138 182   X 001 10   3  7 92   1450    1550   -32 30.00   179 55.06   2947.0

KN 138 183   X 001 10   3  7 92   1957    2057   -32 29.97   179 25.09   3219.0

KN 138 184   X 001 10   4  7 92     25      58   -32 29.91   178 54.92   1559.0

KN 138 185   X 001 10   4  7 92    429     530   -32  5.07   178 30.09   3135.0

KN 138 186   X 001 10   4  7 92    948    1058   -31 34.99   177 59.92   3869.0

KN 138 188   X 001 10   4  7 92   1839    1955   -31  5.12   177 32.29   4185.0

CRUISE     MIN/MAX DATE    MIN LAT/LON MX LAT/LON   INST   NV MIN MAX TOT P WH

--------- ----------------- ----------- ---------- -------- -- --- --- --- - --

KN138P003 92- 6- 1 92- 7- 4  -33. -180. -31.  180. 10 9 0 0  7  75 188 112 Y

************************************************************************

*                                                                      *

*                     A C Q U I S I T I O N                            *

*                                                                      *

************************************************************************

-----------------------

AT SEA DATA ACQUISITION

-----------------------

MICROVAX II

CTD03

with WHOI AQUI89 acquisition package (Version 1.0+)

Logging data to:   Vhs vcr tape recorder

9T

Microvax disk file (###A###.RAW) in CTD78 format

(*.WRW,*.WSC,*.HED,*.ERR) in ASCII format

CTD 10

AT SEA COMMON USED FOR DATA ACQUISITION   CTD#10

v#  attribute 1     attribute 2     slope        bias           sens lag

1  -0.294565E-08   0.000000E+00   0.100352E+00  -0.246449E+00   0.000000E+00

2   0.225955E-11   0.000000E+00   0.499864E-03   0.186416E-02   0.250000E+00

3  -0.650000E-05   0.150000E-07   0.100631E-02  -0.177214E-02   0.000000E+00

4   0.280000E+01   0.300000E+04   0.100000E+01   0.000000E+00   0.000000E+00

5  -0.360000E-01   0.115000E-03   0.123300E-02   0.000000E+00   0.000000E+00

6   0.750000E+00   0.000000E+00   0.128000E+00   0.000000E+00   0.000000E+00

7  -0.707350E+02   0.246810E+01  -0.909828E-02   0.362914E+02   0.000000E+00

8   0.000000E+00   0.000000E+00   0.100000E+01   0.000000E+01   0.000000E+00

9   0.000000E+00   0.000000E+00   0.500000E-03  -0.200000E+01   0.000000E+00

10   0.543326E-01  -0.413000E-05   0.100000E+01   0.218000E+02   0.000000E+00

TP cals changed sta 60:  S1=+2.71E-6  S2=-.054

Pres Bias set to -0.8 sta 60.

CTD 9

AT SEA COMMON USED FOR DATA ACQUISITION   CTD#9

v#  attribute 1     attribute 2     slope        bias           sens lag

1   0.297377E-09   0.000000E+00   0.100557E+00   0.450652E+00   0.000000E+00

2   0.197920E-11   0.000000E+00   0.500248E-03  -0.361583E-01   0.250000E+00

3  -0.650000E-05   0.150000E-07   0.997986E-03  -0.231510E-01   0.000000E+00

4   0.280000E+01   0.300000E+04   0.100000E+01   0.000000E+00   0.000000E+00

5  -0.360000E-01   0.115000E-03   0.148000E-02   0.000000E+00   0.000000E+00

6   0.750000E+00   0.000000E+00   0.128000E+00   0.000000E+00   0.000000E+00

7  -0.227549E+03   0.126625E+02  -0.904813E-02   0.379786E+02   0.000000E+00

8   0.000000E+00   0.000000E+00   0.100000E+01   0.000000E+01   0.000000E+00

9   0.000000E+00   0.000000E+00   0.500000E-03  -0.200000E+01   0.000000E+00

10  -0.141909E-01  -0.353000E-05   0.100000E+01   0.218000E+02   0.000000E+00

TP cals changed leg 4:  S1=+3.39E-6  S2=+.015

CTD 7

AT SEA COMMON USED FOR DATA ACQUISITION   CTD#7

v#  attribute 1     attribute 2     slope        bias           sens lag

1  -0.802577E-09   0.000000E+00   0.999165E-01   0.366930E+00   0.000000E+00

2   0.131918E-11   0.000000E+00   0.499886E-03   0.627969E-03   0.250000E+00

3  -0.650000E-05   0.150000E-07   0.984760E-03   0.380964E-01   0.000000E+00

4   0.280000E+01   0.300000E+04   0.100000E+01   0.000000E+00   0.000000E+00

5  -0.360000E-01   0.115000E-03   0.240500E-02   0.000000E+00   0.000000E+00

6   0.750000E+00   0.000000E+00   0.128000E+00   0.000000E+00   0.000000E+00

7   0.000000E+00   0.000000E+00   0.100000E+01   0.000000E+00   0.000000E+00

8   0.000000E+00   0.000000E+00   0.100000E+01   0.000000E+00   0.000000E+00

9   0.000000E+00   0.000000E+00   0.500000E-03  -0.200000E+01   0.000000E+00

10   0.000000E+00   0.000000E+00   0.100000E+01   0.000000E+00   0.000000E+00

TP cals changed leg 4:  S1=-2.54E-6  S2=-.40

COMMENTS regarding data acquisition:

LEG 3:  Aqui89 troubles from the start of leg 3.  Code got corrupted and

was scrambling the last three parameters (TP,TR,RT).  Plotting

of extra variables and derived parameters was demonic.  Test sta

999 and 998, and sta 1 were acquired with this corrupt code.

A backup AQUI89 tape from July 1991 was restored to the microvax and

sta 2 was acquired with this code.  Data clean.  Plotting

spikes for TE variable. Station 1 was replayed from audio tape with

this old code.

Logging in parallel to PC, stations 999,998,1-3,5-7,9-12.

Logging to third microvax rental, stations 11-17.

Test sta 999 supplied too much power to fish, noise at bottom when

firing.  Switched to battery, powered off lambda.  Pressure spikes

apparent test sta 998.  Believed to be from pinger.  Sta 1 and 2

were deployed with no pinger to test this hypothesis.  Verified.

Pinger moved on rosette frame prior to sta 3, no spikes.

Triple cast in Chilean trench.  Sta 1-ctd #10, sta 2-ctd #7,

sta 3-ctd #9.  Decided to go with ctd 10.  Ctd 7 bad oxy sensor,

cond noisy deep water.  Ctd 9 equally as good as 10 but consensus

was to use 10 because of oxy pump.  Ctd 10 showed some cond

hysteresis at theta of 2.3-2.8 deg on co vs te plots but t/s

showed no up/down differences.  Bob said diff in co attributed

to diff in pressure.  Up/down different by 30 db.

Replaced Oxygen sensor on ctd10 prior to sta 4.

Power outages and total blackout prior to sta 8.  CTD02 and CTD03

both crashed.  Early on, CTD03 had repeated crashes, at start of

cruise and in port in Jacksonville.  Thought to be UPS, power or

ethernet related, one user logged off "mike" ship's ethernet at

the same time during one crash.  Cause indeterminant.

Noticed aqui record tags off by 50 dbars from deck unit readout

on station logs.  Changed average number of scans in template file

from 5 to 1 sta 9 to no avail.  Aqui tags were always higher than

deck unit readouts, indicating that the system was somewhat slow,

lagging behind the current scan.  Quick fix:  tagged 1 min after

firing.  Worked okay.

Logged to CTD04 (latest version of P6 code that was corrupt

on CTD03) stations 11-17 to compare bottle tag files.  CTD04

tag files were right on the mark, and furthermore, the last

3 channels were not scrambled.

CTD03 crashed stations 12, cast 1.  Restarted aqui cast 2.

CTD03 crashed again sta 13, but logging to CTD04 so didn't

restart CTD03 again.  Crashes seemed to indicate ethernet

problems.  User logged out from "mike" on ctd02 sta 12

at exactly same time ctd03 lost connection.  Coincidence?

Tagging offset also suggested that ethernet was

perhaps slowing the system down.  Decided to disconnect from

ship's ethernet and create own ctd network.

Restored P6 AQUI89 code on CTD03 on 6 May and acquired sta 14

with the same code.  Ctd04 logging in tandem as backup still.

Sta 14 was clean and tag files were right on the mark.

Aqui plotting code relinked and recompiled May 8.  Seemed

last fix to software had bug in it, so went back to plotting

code just prior to last fix.  Aqui89 code modified May 12

to add extra column in redt temp field in .WRW tag file

to avoid integer overflow.

Sta 17, CTD03 crashed again.  Likely culprits:  HE/TRitium van

or NUTS ethernet cables, or UPS/ship power problem.

He/Tr van was not working when hooked up through hydrovan

to ctd network to ships network.  Disconnected He/Tr

cable, wired directly to ship and ethernet working fine.

Thought He/Tr and hydrovan had an interrupt or board conflict.

Winch failed sta 21 3500 m on upcast.  Only 3 bottles fired.

Brake froze.  CTD sat 500 m off bottom for 5-6 hours before

got working again.

Switched over to markey winch sta 22.

After record tags editted manually and templates distributed,

discovered numerous double-tripping of bottles.  Just about

every station through sta 22.  Changed pylons prior to sta 23

which proved successful.

Sta 27 new co slope.  Markey winch failed 700 m upcast sta 27.

Cast aborted.  CTD had to be brought on deck manually.

Switched back to first winch.  Required second person to

manually operate brake.

After recovery on sta 28, CTD endcap opened.  Seacon 4 pin

bulkhead connectors replaced.

Aqui locked up sta 30 for about 2 minutes, no data written

to tape.

Station 31 CTD03 threatened to lose connection to cluster

(ctd02) again.  Immediately disconnected Nuts ethernet cable and

regained instantaneous connection.  Decided to disconnect NUTs

cable and hook up only during steaming.  Days later, replaced

Nuts cable with a different cable.  Hydrovan could not log in

when this cable was connected.  NUTS ethernet address in conflict

with one on ship in SSG group.  Changed name and address.

Should not have been the cause of crashes since no conflict with

ctd network.  Days later, can have both nuts and hydrovan on

net with no conflicts.  It was believed at end of leg 3 that

He/Tr van had a bad cable.

New pinger station 36.

Swapped redt temp modules sta 59.

New pressure temperature cals ctd 10.  Revised aqui template sta 60.

Also cleaned conductivity cell with HCL prior to sta 60.

Watch forgot to increase seacableI to 470ma on downcast start sta

61 until approx 500 m down.  Oxygen erroneous and erratic first

500 m.  No redt temp entire cast.

Winch troubles again sta 63.  Flipped circuit breaker, power restored.

Restart cast 2 at 10m.  Lost power one more time before cast completed.

Error writing to 9-track sta 65.  Did a stop_watch, logger hung.

Tried to forcex and restart several times with no success.  Killed

grabber, re-executed sysmgr commands and restarted aqui, cast 2.

Tape and disk okay, but no header file on disk.

Same error to 9-track sta 69.  CTD_LOG in RWMBX state, can't

forcex or stop_aqui, only stop/id works.

Test rebuilt markey winch sta 69.

Turn off oxygen pump sta 70.  Pump flow facing up on last

two sta 71 & 72.  Oxygen noisy, as on sta 70.  Rotate back to

face down on leg 4.

Bottom (PDR) depth vs pressure discrepancies:  sta 11,23,36,38,

43,45,47,56,57,67.  56 & 57 drifting over slope, false bottom

readings?

Trouble with 9-track last two stations.  End of leg 3, during

swim call, UPS's went on alarm, all 3 systems crashed.

Believe 9-track troubles might have to do with power.

LEG 4:  Surge supressor on aqui 9-track.  CTD02 and CTD03 on UPS on

clean power.  Repacked hard disk dua4 for acquisition.

Reoriented oxygen pump outtake on ctd10 to face down.

Double cast sta 73 (ctd 7) and 74 (ctd 10) in same position

as sta 72 on leg 3.  Attempted to first deploy ctd 9 at sta

73, fatal failure.  Troubleshot to power supply board.

CTD 7 deployed with old oxy sensor (bad).  Conductivity

still looks noisy as compared to ctd 10 and ctd 9.

Slight hysteresis in deep water t/s plot.  CTD 10, sta 74,

lowered with not enough current to fish.  Data noisy.  Cond

appears to be offset, oxygen looks offset and has different

shape.  Omit these two sta 73 & 74 from final ctd data set.

Record tag data erroneous scans sta 74.

Became apparent ctd 10, 9, and 7 wired differently. Transmiss

ometer cable different for each instrument.

Fatal failure ctd 10 prior to sta 76.  Switched over to ctd 9

with new power supply board and no oxy pump.  Scot touched case

and got zapped, ctd underwater cable bunged up.  Replaced with

new one.  Signal still noisy.  Ground lug on termination broke

off (corrosion), and had to be replaced.  Finally deployed ctd 9.

Interference on upcast when firing bottles.  PHANTOM  problem

-comes and goes.

Upon examination, sea cable bulkhead connector corroded ctd 10.

Salt deposits found at both end caps.  Battery pack shot with

salt and corrosion.  High voltage pin had corroded from getting

wet because non-watertight plug was used for charging between

stations on leg 3.  Epoxy connector broke down and water

wicked in thru the pin.  Had been going on for a while on leg 3.

Just got lucky that ctd 10 lasted through leg 3.  Took out battery

pack and dc-dc regulator.  Removed battery fuse (not needed

anyway because separate conductors for ctd and rosette).

Oxy pump board burnt.  Power converter died.  Need replacement.

Jeff rigged up transistor circuit to replace orginal power converter,

but 10 was rushed back into service before he could get the pump

board fully checked and installed.

Sta 78, switched over to battery for power supply to fish

to try and eliminate interference problem (ctd 9) but

battery died on upcast.  As a result, upcast poor data

quality esp last 12 bottles, ie 600 m.

Winch died 1880m downcast sta 79.  Gap in data.  Need to

ctlog CU mode back at clark 1880-2100m.

Switch over to markey winch sta 86.  Upon recabling to

second termination, ctd 9 redt temp out.  Disconnected

and when plugged back in, oxy sensor failed.  Deployed

CTD 10 in its place.  Later, when ctd 9 powered up in

wet lab, all checked okay. DIED again a few days later.

Further examination revealed inept wiring, poor soldering

(shoddy workmanship).  Replaced sign gen and adaptive

sampling boards.  Power still flaky.  Checked voltages

and found that sometimes the 6V from ctd power supply

was drooping because of excessive loading effects.

Both the 2 channel digitizer and the otm board use this

6V along with the ctd comparator and adaptive sampling.

Since this regulator current limited to 40 mA, it really

doesn't have enough poke to handle the load.  Fix was

to take the 5V regulator on the OTM board (which uses the

6V as input) and run it from the 12V regulator located

on the same (otm) board, instead of the ctd 6V power supply.

Now ctd 9 running like a champ.  Ctds seem to be right

on the margin of being overloaded in terms of power.

If put ctd 7's otm card in place of 9's (before the fix),

ctd 9 would work.  Implies juice marginally available,

ctd highly sensitive to minor fluctuations.

CTD 10 looking better leg 4 than leg 3.  Conductivity more

consistent.  Oxygens fitting much better without pump.

Leg 3, oxygen noisy 1st 400 m with pump.  Also, hard to

fit oxygens at oxy mins and maxes and in deep water on

leg 3.  Not sure whether problems related to ctd going

south, or problem with pumping mechanism, or simply

because gradients much sharper on leg 3 than leg 4.

Vaxes crashed sta 91, last record tag.  Open data files

aqui.  Replay from audio.  Engineer checked clean power

with scope, believes one of lines has contaminated ground.

STA 95,97-99 offset bottle data.  Changed pylons and

rosette firing units prior to sta 102.

Cond shift ctd between sta 102 and 103.

Inner rosette fired first sta 108-111,113-114.

Upon recovery sta 110 (rough seas), package hit hull

before top ring on package finally hooked with pole.

As package brought on deck, air tugger bent frame

(top ring) and deformed it.  Vertical bars a nightmare.

Sta 112 deployed with ctd #9 using 24 bottle rosette.

No transmissometer, no room for it on package.

Oxygen failure on downcast.  Conductivity noisy bottom of

downcast, failure after 1st bottle on upcast.  Numerous

leakers.  Salts poor, oxygens horrendous.  Overall, sta

almost a complete loss.  Upon examination, ctd 9 showed

sensor head flooded with water.  Sensor head rotated prior

to deployment to accomodate new package.  Further

examination revealed that # 9 tty fsk board wired to wrong

pin.  Couldn't just swap out boards between instruments.

Miracle any data was ever collected with this instrument!

CTD 9 back on line 6/17/1992.

Upon recovery sta 113, ship took roll at 40 m on upcast.

Tow line got caught in propeller.  Blocks hit boom and

broke off.  Vertical bars now almost impossible to put

in place.  Wire also came up with a kink in it.  New

termination prior to sta 114.

Upon recovery of sta 114, cable came up with new kink.

Vertical bars taken off rosette package sta 115.  Replaced

with 2 horizontal bars at bottom of package.

New top plate on pylon prior to sta 116.

Due to inclement weather and decreased ship speed (40-45

knot winds, ship cruising speed of 3 knots) and down time

for hardware problems, spacing between stations increased

from 40-50 nm after sta 116.

Swapped back in 36 bottle rosette deck unit prior to sta

120.  Previous unit (scripps) had message on grate saying

problems with firing.

Power outage, vaxes brought down 6/16/92 for one hour.

Back on line for sta 121.

Co shift ctd sta 121.

New termination prior to sta 122.  3rd horizontal bar

also put on package.

CTD02 CRASHED 6/17/92, after recovery sta 122.

6/17/92- ship on two engines, speed to station increased

to 11 to 12 knots.

6/17/92 discovered that just 15 min prior to previous day's

power outage, hydrovan got shift in salts (fresh) while

running autosal.  Reran afterwards, same samples now saltier.

Apparently, autosal hooked up on 440 transformer (unreg power)

with no UPS or surge protection.  Will hook up to clean power

and run off BEST UPS in helium van.  Accounts for repeated

shifts in salts and scatter for both legs 3 & 4.

STA 124 SWAPPED OUT AUTOSALS.  Using autosal #10.  Bath

was leaking, had to be taken apart and reglued before using.

T/S anomoly starting at sta 128.  Saltier in deep water.

Markey winch sta 133.  Lost power to winch during cast 3-4

times.

Switched back to AB Johnson winch sta 134.

Vaxes crashed on downcast 700m off bottom sta 136.  Plugged

terminal into UPS on aqui, powered off and completely shut

off UPS and power to ctd03.  Minutes later, ctd02 crashed.

Rebooted systems, logged rest of station as cast 2.  Replayed

downcast from VCR tape.  9-track went offline, error msg,

manually put online and logging resumed.

Touched bottom sta 137.  Muddy water seeped out of frame upon

recovery.  Wire came up with two kinks.  Cond shifted sta 138.

Winch failed at bottom of downcast sta 139.  CTD package

dragged on bottom until ship increased speed to increase wire

angle.

Increased ship speed (12-13 knots) and increased speed at

haulback of ctd (80 m/min) warranted changing sta spacing to

40 nm again after sta 139, until mooring line.

Station 141 (ctd #9) and 142 (ctd #10) double cast.  Test

resurrected ctd #9.  Performed like a champ.  Funny oxy blip.

New 24 bottle pylon sta 141 to try and alleviate non-confirmations

for bottles 11 & 12.

Kinks in wire warranted new termination sta 145.

Took vaxes off UPS to reset from home to generator mode.

Widened frequency window.  Systems back on UPS sta 148.

Hangar hoist repaired prior to sta 150.  Upon recovery of sta

149, control handle cable pulled out, lead disconnected.  Had to

Reengage strain release boot.  After switching pylons at sta 141,

became evident 24 bottle rosette double tripping.  Swapped out

24 bottle pylon back to original.  Replaced bulkhead connector.

No more double trips.

Sta 156, error logging to 9-track.  Log upcast as cast 2.

Upon recovery, found cable between ctd and rosette caught

in bottle 35.  Ok.

Disable transmissometer sta 156-179, spec'd out to only

5500 m.

Power failure prior to sta 157.  Ctd lifted off deck. 9-track

offline.  Brought ctd back to deck.  Stopped aqui.  Power

outage.  Systems stayed up on UPS.  Power came back on,

restarted station.  Believe power to have been cause of

problem (9-track going offline) on sta 156.  9-track

has narrower window of frequency operation than  UPS's.

Spikes at 2100,4400,5500 dbars sta 156-167 on down and up

cast.  Erroneous tags in .wrw file.  Cable appears to be

cause.

Prior to sta 168, swapped ctd signal and 12 bottle pylon

conductors.  No more spikes, data clean.

Kermadec Trench sta 174-175.  CTD taken down to approx

6900 dbars.  CTD pressure transducer maxed out at 6553.5

dbars.  Spike in co, te, and ox at bottom.  Pressure for

last two rec tags estimated from wire out.  Could be off

by 15 dbars.

Prior to sta 179, took out large air bubble in ctd 10 oxy

sensor.  Refilled with oil.

Transmissometer on again sta 180.

Sta 182 EAST longitude.

Fired inner rosette first sta 183,185,188.

AQUI89 mag tapes recorded on low density (800 bpi) sta 185 & 186.

Double cast sta 187 (ctd 9) and sta 188 (ctd 10).  Sta 187

had another funny oxy blip similar to 141.  Could not fit ctd

oxygen to bottle oxygen sta 187.  Recommend new oxy sensor if

ctd 9 used on leg 5.  Conductivity looks fine.

At end of leg 4, rosette troubles.  Getting confirmed firings but

pins not releasing because sticking due to salt deposit buildup.

Pylon was not being lubricated regularly.  Sprayed liberally

with CRC sta 185.  Bottles 23 &  24 not confirming.  Believe

cause is harness plug.  Pete will replace prior to leg 5.

Realigned motor housing on two backup pylons, now ready to go

if need be.

BOTTOM CONTACT:     Sta 137,139.  Leg 3 ?

PROBLEM STATIONS:   Tag files sta 74, 78 & 112.  Power low, erroneous tags.

Recreated from raw downcast data.

Downcast 1800-2100 sta 79 due to winch failure.  Need

to ctlog cu mode cut and paste.

Sta 112- no oxy downcast.  Cond noisy end of downcast,

failed on upcast.  Sensor head flooded.

No bottle data sta 141 test ctd 9.  Could not calibrate

oxygens.  Test ctd 9 again sta 187.  Could not fit

ctd oxy to bottle oxygens.

*************************************************************************

*                                                                       *

*               S H I P B O A R D   P R O C E S S I N G                 *

*                                                                       *

*************************************************************************

DESCRIPTION OF COMPUTER SYSTEM USED:

CTDED78

run on MicroVAX Acquisition CTD78 format raw data 9T files.

output to MicroVAX disk files [CTD.KN138P003.CTDED78]####D###.EDT

error identification downtrace

***discovered bug in editor at sea:  given true pressure limits,

program will truncate CTD data by 7-13 db depending on the depth.

Deeper the station, more severe the truncation.  Noticed in

Chilean trench.  Workaround:  add 20 dbars to max pressure limit

observed by CTD (on station log).  Record limits do not seem

to override this discrepancy.

Water sample Programs:  BTLFMTVX, WOCTMPV2*  (to produce WOCE template)

BTLMRGV2, SEAMERG2   (to merge sa,ox,nuts data)

CONVERT,  HYDOUTV    (to create .dyn file)

*woctmpv2 was revised at sea to encorporate

new PRESSC.for code

Water sample filenames:   Salinity and Oxygen Rosette Samples

for overplotting ctd and bottle data

KN138.WSD - all stations

KN138.DYN - all stations for overplotting

Merged CTD, SA, OX, Nutrient water sample filename:

KN138.SEA - Woce template, all stations appended together

[COMMENTS]

*************************************************************************

*                                                                       *

*                   C A L I B R A T I O N S                             *

*                                                                       *

*************************************************************************

CTD SENSOR CALIBRATIONS used for POST CRUISE PROCESSING

********************************************************************

******                                                       *******

******    CALIBRATION of PRESSURE and TEMPERATURE SENSORS    *******

******                                                       *******

********************************************************************

-----------------------

PRE-CRUISE CALIBRATIONS

-----------------------

.CAL format calibration data files on PC in C:\RUSKCAL

works with RUSKA and NEW Titanium Pressure sensor

CTD #10   10MR92TE.CAL  PRE-cruise TE

.FIT  for listing of scaling factors and residuals

10MR92CO.CAL  PRE-cruise CO

.FIT

10MR92PR.CAL  PRE-cruise PR

.FIT

.CAL  POST-cruise TE

.FIT

.CAL  POST-cruise CO

.FIT

.CAL  POST-cruise PR

.FIT

CTD #9     9APR92T.CAL  PRE-cruise TE

.FIT  for listing of scaling factors and residuals

9APR92C.CAL  PRE-cruise CO

.FIT

9MR92PR.CAL  PRE-cruise PR

.FIT

.CAL  POST-cruise TE

.FIT

.CAL  POST-cruise CO

.FIT

.CAL  POST-cruise PR

.FIT

CTD #7    7APR92TE.CAL  PRE-cruise TE

.FIT  for listing of scaling factors and residuals

7APR92CO.CAL  PRE-cruise CO

.FIT

7APR92PR.CAL  PRE-cruise PR

.FIT

PROGRAM:    RUSKCAL.EXE

--------

PRESSURE:  QUADRATIC DOWN/UP  (0-9000-0 db range)

--------

BI= -(pre-lowering deck unit PR reading)

BIAS        SLOPE         ATTR 1

PRE-CRUISE  CTD10  -.246449E0   .100352E0    -.294565E-8

CTD9    .450652E0   .100557E0     .297377E-9

CTD7    .366930E0   .999165E-1   -.802577E-9

POST-CRUISE CTD10

CTD9

CTD7

***The same calibrations were used for scaling Rosette data

and Pressure averaging the CTD downtrace.

-cruise calibrations were used for final data load.

PROGRAM:    RUSKCAL.EXE

-----------

TEMPERATURE:  quadratic fit

-----------

BIAS         SLOPE         ATTR 1

PRE-CRUISE  CTD10   .186416E-2   .499864E-3    .225955E-11

CTD9   -.361583E-1   .500248E-3    .197920E-11

CTD7    .627969E-3   .499886E-3    .131918E-11

POST-CRUISE CTD10

CTD9

CTD7

CTD 7,9,10= temperature time lag of .25 seconds

PROGRAM:    POLY.EXE

-----------

REDUNDANT TEMPERATURE:  CAL SPECS

-----------

BIAS         SLOPE         ATTR 1       ATTR 2

PRE-CRUISE  CTD10  -.200000E+1   .500000E-3

CTD9   -.200000E+1   .500000E-3

CTD7   -.200000E+1   .500000E-3

PROGRAM:    RUSKCAL.EXE

-------------

CONDUCTIVITY:

-------------

BIAS         SLOPE

PRE-CRUISE  CTD10  -.177214E-2   .100631E-2

CTD9   -.231510E-1   .997986E-3

CTD7    .380964E-1   .948535E-3

POST-CRUISE CTD10

CTD9

*********************************************************

*******                                           *******

*******  CALIBRATION OF THE CONDUCTIVITY SENSOR   *******

*******                                           *******

*********************************************************

<CTD.CTDEV.CAL>CONVERT.EXE   (MAY 92)     REVISED at sea w/ new PRESSC.for

CONCALD.EXE   (AUG 91)

-------------------

INITIAL DATA LOAD:

-------------------

DATE:  Used CONCALD to compute conductivity scaling factors based

on best fit of CTD data to corresponding Rosette data

LEG 3

_____

CTD 10:  INITIAL load  PRSORT91  LAB CAL BIAS

FIT SLOPE STATIONS 9-19  C109T19.HIS

P>2000

Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

-.177214E-2   .100626E-2

**  SECOND load PRSORT92    LAB CAL BIAS

FIT SLOPE STATIONS 9-19  C10S9T19.HIS

**  at sea final fit        P>1100

sta 1,4-44              Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

-.177214E-2   .100625E-2

**  THIRD load PRSORT92    LAB CAL BIAS

FIT SLOPE STATIONS 45-58  C10S45t58.HIS

**  at sea final fit       P>1100

sta 45-72              Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

-.177214E-2   .100630E-2

Comparison of deep water theta/salt plots of CTD (M version) traces

and rosette data (TW16.DYN) yielded the following:

Sta 1,20-22 need slope adjust, 30-32, 42-44.

Delta conductivity vs. station plot looks about as good as it gets.

+.002 - -.002.

LEG 4

_____

OMITTING STA 73 (CTD 7) AND STA 74(CTD 10-POWER BAD) FROM FINAL SET

CTD 10:  STA 75                  LAB CAL BIAS

FIT SLOPE STATIONS 9-19  C10S9T19.HIS

**  LOAD TO 1ST FIT         P>1100

(sta 1,4-44)            Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

-.177214E-2   .100625E-2

**  FOURTH load             LAB CAL BIAS

FIT SLOPE STATIONS 87-94 C10S87T94.HIS

**  at sea final fit        P>1100

**  sta 87-102              Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

-.177214E-2   .100632E-2

**  slope adj sta 86                     .100637E-2

**  FIFTH load              LAB CAL BIAS

FIT SLOPE STATIONS 105-111 C105T111.HIS

**  at sea final fit        P>500

**  sta 103-137             Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

-.177214E-2   .100637E-2

**  SIXTH load              LAB CAL BIAS

SLOPE ADJUST ABOVE SLOPE +.002

**  at sea final fit        USING SALTADJ.EXE

**  sta 138-140             Alpha=-.65E-5, Beta=1.5E-8

142-186,188

BIAS         SLOPE

-.177214E-2   .100642E-2

reason:  ctd hit bottom sta 137

concald not fitting ctd to bottles

in deep water

CTD 9 :  STA 76-85               LAB CAL BIAS

FIT SLOPE STATIONS 76-82  C9STDPSL.HIS

STA DEP SLOPE

USE SLOPE FROM STA 82 FOR STA 83-85

P>1100

Alpha=-.65E-5, Beta=1.5E-8

BIAS         SLOPE

STA 76              -.231510E-1   .99813760E-3

STA 77              -.231510E-1   .99814026E-3

STA 78              -.231510E-1   .99814293E-3

STA 79              -.231510E-1   .99814559E-3

STA 80              -.231510E-1   .99814826E-3

STA 81              -.231510E-1   .99815092E-3

STA 82-85           -.231510E-1   .99815358E-3

Test sta 141,187 omitted from final data set.

Used saltadj.exe to make sta 141 match sta 142.

Applied same slope to sta 187, matched 188 well.

BIAS         SLOPE

STA 141,187       -.231510E-1   .997758E-3

Comparison of deep water theta/salt plots of CTD (M version) traces

and rosette data (TW16.DYN) yielded the following:

Bottle salts show much scatter.  Lots of leaking bottles.

Sta 97-104,116-123 horrendous bottle salts.  Autosal drifting.

Swapped out autosals (finally) on sta 124.  Salts now agree with

ctd.  Drifting seems likely also on leg 3.

Ctd hit bottom sta 137.  Cond shifted .002.  Concald would not

slide the ctd over to match bottle salts in deep water.  Problem

with program or sensor?  Used SALTADJ.EXE to determine new slope.

After reprsorting sta 138-188 late in the cruise, became apparent

that ctd and bottle salts got slightly fresher.  Drift seems to

take place in the late 150's to early 160's.  Need more detailed post

cruise analysis.  Concald run sta 160-170.  Because of possible

problems with concald and lack of time, decided to leave sta 160+

as is.  Need POST-cruise cal.

Delta conductivity vs. station plot not made due to horrendous quality

of bottle salts.

-----------------------------------

<CTD.CTDATA.PRSORT91>PRSORT92.EXE   (MAY 92)

Program PRSORT92 was used to convert time series CTD78 format data

to VAX disk files of pressure averaged observations at 2 db intervals.

The '.CTD' data files include variables OC and OT from which oxygen

calibrations will be refined later.

PRSORT92 was developed at sea after a comparison between the vax

and the PC showed the PRESSC.for subroutine in prsort91 to be incorrectly

applying the pressure temperature cals.  After rewriting the code, Bob

Millard decided that the tp s1 and s2 cals were wrong for CTD #10 and

revised them.  All programs linking with PRESSC.for  were recompiled:

woctmpv2, convert and oxupdate.

Prsort91 was first created to encorporate the new titanium pressure

sensor and new pressure temperature algorithm.  See the subroutine

PRESSC.FOR.  This sensor should not exhibit any hysteresis.  Also,

the SAL78 was corrected, replacing C1535 with 42.914  (formerly 42.909).

This will increase salinity by about .005.

Additionally, the OC slope was hardwired to .0014 to concur with the

OXEXTVX1 routine.  The *.CTD file encorporates this new number, however

the *.DLD listing reflects the old slope of .00148.

The following FINAL command files were used to run PRSORT92 loading

data from CTDED CTD78 FORMAT tapes:

PSP601.COM         sta  1-12

PSP602.COM         sta 13-22

PSP603.COM         sta 23-32

PSP604.COM         sta 33-42

PSP605.COM         sta 43-53

PSP606.COM         sta 54-62

PSP607.COM         sta 63-72

PSP608C9.COM       sta 76-82

PSP609C9.COM       sta 83-85

PSP611.COM         sta 103-111

PSP612.COM         sta 113-121

PSP613.COM         sta 122-131

PSP614.COM         sta 138-140

PSP615.COM         sta 142-149

PSP616.COM         sta 150-158

PSP617.COM         sta 159-167

PSP618.COM         sta 168-175

PSP619.COM         sta 176-183

************************************************

******                                    ******

******    CALIBRATION of OXYGEN SENSOR    ******

******                                    ******

************************************************

Basic Method for generating oxygen fits:

----------------------------------------

<CTD.CTDEV.WS>HYDOUTV    (AUG 91)

used to transform KN138.WSD (from CONVERT) to KN138.DYN (NODC format)

LISTGRID produces ASCII listing (STALEG#.LST) of Rosette

data from '.DYN' file

<CTD.CTDEV.CAL>OXEXTVX1  (AUG 91)

used to generate *.OXY file from selected stations

of water sample data from the appropriate SUBINDEX.CTD

file and KN138.DYN file by extracting data scans from

CTD downtrace profiles which correspond to Rosette

sampling pressures.

<CTD.CTDEV.CAL>OXFITMR   (AUG 91)

run on each *.OXY file to arrive at scaling

parameters for the oxygen sensor; fit the least number

of parameters necessary to reduce s.d. to +/- 2.8

<CTD.CTDATA.EXE>OXCALCL    (26-jun-86)

used to apply oxygen scaling factors derived by OXFITMR

to PRSORTed  .CTD files.  Outputs 'X' version.

$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$

$$$$$$                                                               $$$$$$

$$$$$$          PROGRESSION OF OXYGEN SENSOR CALIBRATIONS            $$$$$$

$$$$$$                                                               $$$$$$

$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$$

--------------------------

I....  DATE :   'X' versions created from *M* files

--------------------------

THESE 'X' versions were created with the following fits generated

to the station bounds listed :

OXEXTVX1 used to generate a series of .OXY files for oxygen

calibration groups

OXFITMR run on each OXY file separately to arrive at scaling

parameters for oxygen sensor as follows:

fit 4, 5 OR 6 parameters, starting with the first until sd +/- 2.8 reached

set OXMIN to .001

OUTPUT is an FOR025.DAT file which can then be input to CALCL

LEG 3

C10STA1.DAT    CTD #10  Oxygen sensor A   applied to sta 1

C104T5.DAT              Oxygen sensor B   applied to sta 4-5

C106t8.DAT                                applied to sta 6-8

C1012t19.DAT                                applied to sta 9-25

C1026t34.DAT                                applied to sta 26-34

C1035t45.DAT                                applied to sta 35-45

C1052t55.DAT                                applied to sta 52-55

C1056t61.DAT                                applied to sta 56-61

C1062t68.DAT                                applied to sta 62-69,71-72

C10s70.DAT                                applied to sta 70

LEG 4

C1062T68.DAT     CTD #10  Oxygen sensor B   applied to sta 75

C10S87T94.DAT                                applied to sta 86-94

C10S95T99.DAT                                applied to sta 95-105

C10S106T109.DAT                                applied to sta 106-111,113-117

C10S118T125.DAT                                applied to sta 118-124

C10S125T132.DAT                                applied to sta 125-135

C10S136T142.DAT                                applied to sta 136-150

C10S151T161.DAT                                applied to sta 151-161

C10S162T170.DAT                                applied to sta 162-167

C10S168T174.DAT                                applied to sta 168-176

C10S177T178.DAT                                applied to sta 177-178

C10S179T184.DAT                                applied to sta 179-186

C10STA188.DAT                                applied to sta 188

C9S76T85.DAT     CTD #9   Oxygen sensor A   applied to sta 76-79,81-85

C9STA80.DAT                                applied to sta 80

C9S76T85.DAT                                applied to sta 141

C9STA187.DAT                                applied to sta 187

OXYGEN PARAMETERS GENERATED FROM OXFITMR FOR ABOVE STATION GROUPINGS:

FIT

___

CTD 10:

0.025  0.7309E+00  0.1333E-03 -0.2359E-01  0.7500E+00  0.8000E+01/C10STA1.DAT

-0.168  0.8934E+00  0.3078E-03 -0.3187E-01  0.7500E+00  0.8000E+01/C104T5.DAT

-0.014  0.7700E+00  0.1995E-03 -0.2249E-01  0.7500E+00  0.8000E+01/c106t8.dat

-0.003  0.8206E+00  0.1582E-03 -0.2337E-01  0.1381E+01  0.6368E+01/C12T19.DAT

0.022  0.7624E+00  0.1572E-03 -0.2483E-01  0.7500E+00  0.8000E+01/C1026T34.DAT

0.039  0.7380E+00  0.1477E-03 -0.2243E-01  0.7500E+00  0.8000E+01/C1035T45.DAT

0.041  0.7188E+00  0.1526E-03 -0.2119E-01  0.7500E+00  0.8000E+01/C1052T55.DAT

0.039  0.7185E+00  0.1560E-03 -0.2261E-01  0.7500E+00  0.8000E+01/C1056T61.DAT

0.048  0.7349E+00  0.1407E-03 -0.2347E-01  0.7500E+00  0.8000E+01/C1062T68.DAT

0.017  0.7955E+00  0.1591E-03 -0.2684E-01  0.7282E+00  0.6109E+01/C10S70.DAT

0.029  0.7826E+00  0.1454E-03 -0.2635E-01  0.7568E+00  0.8000E+01/C10S87T94.DAT

0.022  0.7902E+00  0.1468E-03 -0.2789E-01  0.6794E+00  0.5075E+01/C10S95T99.DAT

0.021  0.7976E+00  0.1488E-03 -0.2787E-01  0.6409E+00  0.7442E+01/C10S106T109.DAT

0.027  0.7868E+00  0.1449E-03 -0.2697E-01  0.6297E+00  0.5284E+01/C10S118T125.DAT

0.015  0.8123E+00  0.1492E-03 -0.2785E-01  0.7160E+00  0.8124E+01/C10S125T132.DAT

0.016  0.8118E+00  0.1483E-03 -0.2782E-01  0.7731E+00  0.1834E+01/C10S136T142

0.020  0.8163E+00  0.1460E-03 -0.2778E-01  0.6855E+00  0.5515E+01/C10S151T161

0.010  0.8424E+00  0.1458E-03 -0.2958E-01  0.7947E+00  0.1690E+01/C10S162T170

0.004  0.8588E+00  0.1465E-03 -0.3043E-01  0.8314E+00  0.8000E+01/C10S168T174

0.023  0.8235E+00  0.1449E-03 -0.2844E-01  0.8075E+00  0.8000E+01/C10S177T178

0.019  0.7913E+00  0.1536E-03 -0.2520E-01  0.8577E+00  0.5878E+01/C10S179T184

0.019  0.7913E+00  0.1536E-03 -0.2520E-01  0.8577E+00  0.5878E+01/C10S179T184

-0.015  0.8513E+00  0.1591E-03 -0.2961E-01  0.8837E+00  0.8000E+01/C10STA188

CTD 9:

0.010  0.6334E+00  0.1697E-03 -0.2862E-01  0.5896E+00  0.8000E+01/C9S76T85.DAT

0.000  0.5974E+00  0.2184E-03 -0.2429E-01  0.4809E+00  0.8000E+01/C9STA80.DAT

-0.033  0.6498E+00  0.1765E-03 -0.3328E-01  0.7699E+00  0.8000E+01/C9STA187.DAT

Comparison of full profile pressure/O2 plots of CTD traces

and rosette data (  .DYN) yielded the following:

CTD 10:  LEG 3:  Stations with pump (leg 3):  oxygens not as good as on P16C.

Trouble fitting oxy min and oxy max and deep water.

Either/or but not both.  Sta 70 pump off, oxygens much noisier

DEEP water.  Sta 71-72 pump facing up, oxygen noisy, rotate back

to down position for leg 4.

LEG 4:  Station 75, pump on.  Still noisy 1st 400 m.  After ctd 10

failure, ctd 10 went back on line without pump. No initial noise

1st 400-500m, but at oxygen max and in deep water, seems little

noisier than with pump.  McCartney says to use without pump.

Again, trouble fitting at mins and maxes and in deep water.

Overall quality of bottle data poorer than usual.  Sta 185

horrendous.

CTD 9:   LEG 4:  BEFORE FATAL FAILURE, Oxygens fit very well.  Better than

ctd 10 with pump.  Less noise than ctd 10 with or without pump.

After fatal failure, test sta 141 and 187 showed oxy blip.  Sta

187 ctd oxy would not fit to bottle data.  Suggest new oxy sensor.

**************************************************

*********                                *********

*********        QUALITY CONTROL         *********

*********                                *********

**************************************************

<CTD.CTDATA.EXE>CTDED.EXE  (27-oct-86)           KN138CTDED.COM

To correct erroneous data scans (i.e. interpolate over pressure

bounds to get rid of salinity and oxygen spikes in the data)

Outputs 'E' version.

STATION       VARIABLE       ACTION        P1, P2      COMMENTS

------------     --------    -----------     ---------    --------------------

LEG 3

_____

CTD 10

7            SA           19/        1233,1251       INTERPOLATE

8            SA           19/        1823,1845       INTERPOLATE

OX           19/        1823,1853

29            SA           19/        1635,1763       INTERPOLATE

31            SA           19/        2039,2061       INTERPOLATE

OX           19/        2045,2053

54            SA           19/        3177,3185       INTERPOLATE

63            SA           19/         535,577       INTERPOLATE

OX           19/         537,569

70            SA           19/         415,419       INTERPOLATE

71            SA           19/         365,373       INTERPOLATE

393,397

401,415

72            SA           19/         747,751       INTERPOLATE

781,785

791,797

807,811

825,831

833,841

851,855

861,869

LEG 4

_____

CTD 10

74            SA           20/        2755,2,34.681   FUDGE VALUE

19/        2697,2755       INTERPOLATE

79            SA           19/        1841,1871       INTERPOLATE

1901,2159

OX           19/        1845,1851

1877,1885

1903,2099

105            SA           19/        1055,1059       INTERPOLATE

108            SA           19/        1317,1321       INTERPOLATE

111            SA           19/         793,797        INTERPOLATE

112            SA           19/        4615,4641       INTERPOLATE

4673,4707

4729,4777

20/        4911,34.709     FUDGE END SA VALUE

19/        4783,4911

25/           1,4911       -9 FOR OXY

141            OX           19/        2361,2381       INTERPOLATE

3011,3019

3171,3211

3213,3231

147            SA           19/        1905,1913       INTERPOLATE

2071,2087

2117,2131

2159,2167

2185,2191

2259,2297

2301,2319

OX           19/        2259,2305       INTERPOLATE

149            SA           19/         537,541        INTERPOLATE

151            SA           19/        1203,1207       INTERPOLATE

156            SA           19/        5513,5545       INTERPOLATE

5563,5569

OX           19/        5513,5523

5527,5533

5533,5543

157            SA           19/        4409,4415       INTERPOLATE

158            SA           19/        4417,4425       INTERPOLATE

4433,4447

5519,5551

OX           19/        5529,5551

159            SA           19/        2347,2355       INTERPOLATE

5525,5537

161            SA           19/        2309,2321       INTERPOLATE

4359,4367

162            SA           19/        2359,2363       INTERPOLATE

163            SA           19/        2369,2375       INTERPOLATE

4331,4339

164            SA           19/        4565,4589       INTERPOLATE

4589,4595

OX           19/        4527,4545

4565,4597

165            SA           19/        5595,5633       INTERPOLATE

5633,5643

OX           19/        5595,5661

166            SA           19/        4461,4477       INTERPOLATE

5619,5641

OX           19/        5619,5643

167            SA           19/        4437,4487       INTERPOLATE

5615,5651

OX           19/        4441,4451

5613,5633

5639,5645

174            SA           19/        6537,6553       INTERPOLATE

_______________________________________________________________________________

<CTD.CTDATA.EXE>CRSUMARY1.EXE   (12-jan-83)

To create SUBINDEX.CTD file of selected versions of CTD data files

FINAL ARCHIVED VERSIONS OF SUBINDEX.CTD

DATES   SUBINDEX.CTD   final XE version data files

MSUBINDEX.CTD  prsort 'M' versions

FSUBINDEX.CTD  final XE versions (copy of subindex.ctd)

MAY 25  1992              FXESUBINDEXL3.CTD

MAY 24  1992              FMSUBINDEXL3.CTD

JULY 5  1992              FXESUBINDEXL4.CTD

...............................................................................

<CTD.CTDATA.EXE>INDEXED.EXE   (21-aug-84)

To correct erroneous header information in SUBINDEX.CTD files

and transfer that corrected info to the station data files.

branch 3:  auto-check mode to scan for errors, run interactively

branch 1:  to correct header info in SUBINDEX.CTD file

branch 2:  transfer header info

from SUBINDEX.CTD file to data files

Header information corrections:

STATION       CATEGORY         CORRECTION         COMMENTS

------------     --------    -------------------     -------------------------

009/                                  STATION 009.....................

SP

-32 32.73 -72 19.78/

021/                                  STATION 021.....................

SP

-32 30.32 -78 39.63/

024/                                  STATION 024.....................

ST

0616

094/                                  STATION 094.....................

SP

-32 29.80 -125 59.60/

EP

-32 30.16 -125 59.40/

DATE         COMMAND FILE      DOCUMENTATION       COMMENTS

-----------      ------------      -------------       -------------------------

KN138INDEXED.COM    KN138INDEXED.LST     all stations, first pass,

branch 1 only

INDEXTRNSFER.COM    INDEXTRNSFER.LST     all stations, branch 2

INDEXEDB3.DAT        all stations, branch 3

**************************************************

*********                                *********

*********           B A C K U P          *********

*********                                *********

**************************************************

Run interactively.

DATE         TAPE LABEL         WHERE STORED      SAVE_SET NAME(S)    STA

------       ------------       --------------     ----------------    ___

25-MAY-1992     KN138                                1. KN138FL3.BCK    1-72

2. L3BTLDATA.BCK   1-72

**************************************************

*********                                *********

*********             N O D C            *********

*********                                *********

**************************************************

<CTD.CTDATA.EXE>NODCEXCH.EXE  (29-may-85)

WHERE       QUALITY CHECK

DATE         ALL STAS?    DENSITY      STORED      G HEIMERDINGER

----         ---------    -------      ------      --------------

********************************************************

*********                                      *********

*********        P U B L I C A T I O N S       *********

*********                                      *********

********************************************************