Soviet American Gases and Aerosol II (SAGA II) CTD

Data Tape Format Description Document

July 24, 1987

STS/ODF CTD Group

c/o Mr. Robert T. Williams

Scripps Institution of Oceanography

STS/ODF, A-014

University of California, San Diego

La Jolla,  CA  92093

U.S.A.

(619) 534-4420

The SAGA II CTD data are distributed on a 1600 BPI 9-track  magnetic  tape.

This  tape  contains  72  fixed-length-record  ASCII files, written in 6000-byte

blocks.  The first four files on the tape have a logical  record  length  of  80

characters.  The remaining files have a logical record length of 60 characters.

The first file is this tape format description document.

The second file contains the station/cast description for the cruise.   The

first  80-character record of the station/cast file contains the cruise and ship

information. The remaining records contain  leg  number,  station  number,  cast

number,  date  (day,month,year),  cast  type, latitude, longitude, time (at cast

bottom), bottom depth and comments (CTD #, Distance-Above-Bottom, plus any extra

information).  These station/cast records can be read with the following FORTRAN

format: (3x,i2,2x,i3,3x,4i2,2x,3a1,i2,f4.1,a1,i3,f4.1,a1,i4,i5,30a1).

The third file documents the final temperature and conductivity corrections

applied to each CTD cast.  Only pressure, temperature, conductivity and salinity

have been corrected on this tape; all other CTD values are raw, averaged data.

The fourth file is a list of the 68 CTD casts on the tape.

Files 5 through 72 contain the SAGA II CTD data for stations 1  through  60

(including  two  casts  for some stations), one cast per file, in cast sequence.

The logical record length of the data files is 60 bytes, and  the  blocksize  is

6000  bytes.  The first 60-byte record for each cast begins in column 1 with the

string 'STATION' and contains the station and cast numbers for  the  data.   The

remaining  records  contain  CTD data in pressure-sequence within each file. The

data records can be read with the format documented below.   Note  that  missing

data  is represented by blank fields on the tape.  Any logical record with miss-

ing data will have '  0' for the included number of scans in columns 43-45.

- 2 -

DATA RECORD FORMAT:

Column    Format     Item

1-7       i7       pressure (decibars) X 1000

8-14      i7       temperature (celsius degrees) X 100000

15-21      i7       conductivity (milli-mhos/cm**2) X 100000

22-25      i4       dissolved o2 (raw micro-amps, 12 bit resolution)

26-30      i5       GMT real time (seconds) / 4

31-35      i5       extra multiplexer channel ( NOT USED )

36-40      i5       frame sequence count for current cast (starts with 0)

41-42      i2       number of scans rejected from this average

43-45      i3       number of scans included in this average

46-52      i7       raw pressure (decibars) X 1000

54-60      i7       salinity (pss-78 psu) X 100000

A composite FORTRAN format to read a record is:

'(bn,f7.3,2f7.5,i4,i5,f5.1,i5,i2,i3,f7.3,1x,f7.5)'

SAMPLE DATA FILE:

(25% of first tape block for station 3, with "missing" 0-level)

STATION   3 CAST  1

0                                0 0  0

2000 1848032905606105617048         1 0225   -588 3300140

4000 1841862905151104817056         2 0 67    972 3300104

6000 1801352902291105017057         3 0 62   3213 3300640

8000 1768412900895106317058         4 0100   5175 3302224

10000 1716052899868104817059         5 0 95   7242 3306314

12000 1654562896552104017060         6 0 49   8892 3308485

14000 1585972892080101917060         7 0 71  10835 3309949

16000 1464952882602 99117061         8 0100  13075 3310606

18000 1346092872959 96117062         9 0 75  15033 3310811

20000 1333242872567 93417063        10 0 97  16694 3311559

22000 1321162873664 92017064        11 0 75  18933 3314120

24000 1309092871772 93517065        12 0 71  20800 3312878

26000 1293652870356 92817065        13 0 96  22893 3312595

28000 1301762871257 90617066        14 0 50  24750 3312769

30000 1302412871466 89717067        15 0 99  26747 3312853

32000 1286082870444 89517068        16 0 75  29033 3313166

34000 1278752870044 89517069        17 0 72  30690 3313321

36000 1275752870027 89017069        18 0 75  32767 3313503

38000 1268692869528 89017070        19 0 75  34367 3313502

40000 1245002868318 88617071        20 0 75  36533 3314357

42000 1238132867688 88217072        21 0 75  38633 3314168

44000 1230742866698 87917072        22 0100  40425 3313576

46000 1217642866105 87317073        23 0 75  42900 3314095