CTDA:<CTD.TT107Z008>TT107Z008.DOC

Documentation for Thompson 107                  MMF  Feb '84

TT 107

DRAKE PASSAGE

MARCH - APRIL 1976

101 stations total listed in old cruise data notebook

Bouy format tape ?????

Gate format tape ?????      I can't find reference to these

17 JAN 1984:

Program LOADAT was used to load the following tapes made by Nan Galbraith

with program CTDCON. These include stas 4-98     *C*.CTD

2Z00   stations  4-27 (24 files) made 09.01.79 NRG

2Z01   stations 28-58 (31 files) made 09.17.79 NRG

2Z02   stations 59-98 (40 files) made 09.15.79 NRG

These DO all have an oxygen variable unlike most of the earlier cruises.

Max value for oxygen is listed as full scale in subindex files but the

rest of the data appears to be correct.

AN OLD BACKUP TAPE OF THE CRUISE WAS ALSO LOADED TO THE VAX:

sta 4-98   *C*.BAC = same stations   as loaded from CTDCOM tapes

These have been kept on disk incase these final 1980 versions are

in any way different from the *.CTD load.

*C*.BAC WERE DELETED IN MAY 1985 TO MAKE FOR MORE DISK SPACE!!

Data was loaded to the vax and backed up using

CTDA:<CTDSOFT.COMS>BACKUP.COM   on 18 Jan 84

****However since then:

13 Feb 1984:

All stations were edited by running <CTD.TT107Z008>INDEXED.COM

to input correct end times into station headers.

The end times used were found in the old cruise data notebook.

The command file used is good documentation for the process.

QUALITY CONTROL:

In the subindex file all station oxygen maximums (except for station 14)

are listed as full scale 655.35.

sta 63...the subindex file lists Pmax as 589 while the actual station

data listing in the old cruise data notebook list Pmax as 1510.

All other station correspond in both listings.

Additional station parameter value oddities:::

STA  4   TEmin = -.2135 ;

8                  ; Ox min = .62

19                 ; Ox min = 0

20                 ;   "      "

21                 ;   "      "

22                 ;   "      "

54  TEmin = -.1535 ;

77   "      -.7405 ;

86   "      -.2610 ;

94                 ; Ox min = .4

1 MARCH 1984:

THOMPSON 107 WAS BACKED UP USING <CTDSOFT.COMS>BACKUP.COM

PUBLICATION::::

prepared for    NSF, Office for the International Decade of Ocean Exploration

and   ISOS, International Southern Ocean Studies Program

WHOI-76-74

"Observations of the Antarctic Polar Front during FDRAKE 76:

A Cruise Report"

By: T.Joyce, J.Dean, M.McCartney, R.Millard, D.Moller, A.Voorhis, C.Dahm,

D.Georgi, G.Kullenberg, J.Toole and W.Zenk

November 1976    Technical Report