Protocols for Th-234 and Total Mass in the

Water Column and Float Traps

Jennifer Young, Jim Murray, Barbara Paul, Thomas Chapin

Th-234 and Mass water column samples

We collected seawater from 30-l Go-Flo bottles at typically

8 depths in the upper 250 m per station (e.g., 0, 25, 50, 75,

100, 150, 200, 250m).  Approximately 80 (+/-10) liters were

filtered in parallel through three preweighed 0.4-um, 142-mm

Nuclepore filters.  Particulate activities and total suspended

matter were determined from the pre-weighed filters.  Filters

were rinsed with ~20 ml of deionized, distilled water buffered

with NaHCO3 to pH ~8 to remove salts, folded, and stored in

plastic containers for the return to the laboratory at the

University of Washington.  Total activities were determined in

approximately 20 liters of unfiltered seawater taken at the same

depths as the particulate samples.

The radioisotopes were isolated and purified using the

methods of Fleer, 1991 and Anderson and Fleer, 1982.  The major

modification is determination of Th-234, Pb-210, Po-210 on the

same sample, rather than two separate samples.  This modification

was developed by Kenneth Coale (unpublished).  Total samples were

acidified with 50 ml of 12 N HCl and approximately 30 dmps of Th-

230 and 36 dmps of U-236 as yield tracers (yield tracers of Po

and Pb were also added), and 150 mg of acidified, resin-cleaned

(1-x8 Biorad) Fe carrier (as FeCl3 or Fe(N03)3) were added.  The

samples were then vigorously shaken and the Th-230 spike was

allowed to equilibrate for at least 6 hours.  Preliminary

experiments with Puget Sound water samples revealed 6 hours was

more than sufficient time for equilibration.

In order to scavenge the thorium isotopes, Fe(OH)3

precipitates (pH ~8.5) were formed by addition of 50 ml of

concentrated NH4OH.  The precipitates were allowed to settle for

at least 10 hr.  The supernate was siphoned off and the

precipitates were centrifuged, dissolved in ~10 ml of 12 N HCl,

digested in a Teflon beaker with concentrated HCl, HNO3 and HF,

reprecipitated with NH4OH, and rinsed twice with distilled,

deionized water.  Enough 12 N HCl was added to the precipitates

to make a 9 N solution.  The samples were then placed on an HCl-

conditioned anion-exchange resin (1-x8 Biorad) column.  Th (and

Pb) isotopes were eluted with ~60 ml of 9 N HCl.  U isotopes (and

the Fe) were then eluted with ~30 ml of 0.1 N HCl.  Po isotopes

were eluted with at least 300 ml of 0.01 N HNO3.  The Th and U

fractions were further purified by eluting through two HNO3-

conditioned anion-exchange resin (1-x8 Biorad) columns.  After

purification, the Th fractions were either electroplated onto a

stainless steel planchet (EqPac I) or evaporated to 1 small drop

of HNO3, extracted into a TTA (thenyltrifluoroacetone)-benzene

solution  and then stippled onto a stainless steel planchet

(EqPac II).  Particulate samples were processed similarly, except

the digestion utilized NH4OH, HCl, HNO3, HF and HClO4.

Th-234 (actually daughter nuclide, Pa-234, t1/2 = 6.75 hr)

activities were measured in low-background (0.22-0.75 dpm) gas-

flow beta detectors with lead shielding and anti-coincidence.

Total and dissolved Th-234 samples were beta-counted at sea,

whereas trap and particulate Th-234 were processed and beta-

counted at the University of Washington.  Beta counter

efficiencies were frequently determined throughout the total

counting period.  The sample plates were wrapped in three layers

of commercial-grade aluminum foil, in order to shield alpha rays

and low level beta rays.  The recoveries of the Th-230 yield

tracers were measured by alpha counting on silicon-surface

barrier counters (EG&G Ortec 576) at the University of

Washington.  The alpha counters were calibrated with an Am-241

standard.  The recovery of Th averaged 40%.  Total counts for the

samples generally exceed 1000 counts, thereby achieving a

statistical standard deviation of < 3%.  The correction for

ingrowth of Th-234 from U-238 during the equilibration time

averaged 4.3% of uncorrected data.  Activities of U-238 were

obtained from the relationship of U-238 (dpm^-1) = 0.0708(+/-

0.0003) x salinity, (Chen et al., 1986)  We assumed the

correction for ingrowth during the time between precipitate

isolation to the first anion-exchange column to be negligible,

since this time averaged 19 hours.

The Nuclepore filters were dried and re-weighed in order to

determine suspended matter concentrations.  The filters were

soaked in 3-5 ml of deionized distilled water for about an hour

to determine a salt-correction for the sample weight.  The

average salt-correction is 4 mg; the average final correction is

43% of the uncorrected weight.

Protocols for Th-234 and Mass sediment-trap samples

Modified Moss Landing Marine Laboratories (Knauer et al.,

1979; Martin et al., 1987), surface-tethered, floating sediment-

traps were deployed at 5 depths (between 75 and 250 m) for an

average of 50 (+/-20) hours (except for stations 1 and 2 during

EqPac I where traps were at 7 depths).  Brine (85 ppm Cl) was

placed in the bottom quarter of the traps and overlain by

filtered seawater.  The aspect ratio without brine is 8:1 and to

the top of the brine is 6:1.  Generally three traps at each depth

were used for our Th-234 flux samples.  Mass flux data were

obtained by filtering the contents of each Th-234 trap through a

pre-weighted 0.4 um, 90 mm Nuclepore filter fitted in the bottom

of the trap.  The filters were carefully hand-picked for

swimmers, rinsed with NaHCO3 to pH ~8 to remove salts, then

folded and stored in plastic containers for return to the

laboratory.  Swimmers were kept for weight and Th-234 content

determinations.

The same procedures for processing Th-234 particulate

samples were used for Th-234 sediment-trap samples and swimmers.

The average salt-corrections for sample weights is 1 mg per

filter; the average final correction is 20% of the uncorrected

weight.  Because of our relatively short deployment time (~50

hr), we are able to correct for any decay during the deployment

by decay-correcting the measured Th-234 activity in the trap

samples to the mid-point of the deployment and dividing by the

duration of the deployment.

Blanks for yield tracers, Fe, and unused filters from the

same batch as sample filters were processed for every type of Th-

234 sample.  The blanks were consistently small (< 0.6 dpm).

References Cited

Anderson, R.F. and A.P. Fleer (1982).  Determination of natural

actinides and plutonium in marine particulate material.

Analytical Chemistry, 54, 1142-1147.

Chen, J.H., R.L. Edwards and G.J. Wasserburg (1986).  U-238 and

Th-232 in seawater.  Earth and Planetary Science Letters,

80,  241-251.

Fleer, A.P. (1991).  Updated determination of particulate and

dissolved Th-234.  Marine Particles:  Analysis and

Characterization.

Knauer, G.A., J.H. Martin and K.W. Bruland (1979).  Fluxes of

particulate carbon, nitrogen, and phosphorus in the upper

water column of the northeast Pacific.  Deep-Sea Research,

26A, 97-108.

Martin, J.H., G.A. Knauer, D.M. Karl and W.W. Broenkow (1987).

VERTEX: carbon cycling in the northeast Pacific.  Deep-Sea

Research, 34, 267-285.