## metadata
No | Metadata element name | Your input | Help reference no.
1 | Submission Date | 2017-02-09 | 1
2 | Accession no. of related data sets |  | 2
3 | Investigator-1 name | Rik Wanninkhof | 3.1
4 | Investigator-1 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
5 | Investigator-1 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
6 | Investigator-1 phone | 1-305-361-4379 | 3.4
7 | Investigator-1 email | Rik.Wanninkhof@noaa.gov | 3.5
8 | Investigator-1 researcher ID |  | 3.6
9 | Investigator-1 ID type (ORCID, Researcher ID, etc.) |  | 3.7
10 | Investigator-2 name | Denis Pierrot | 3.1
11 | Investigator-2 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
12 | Investigator-2 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
13 | Investigator-2 phone | 1-305-361-4441 | 3.4
14 | Investigator-2 email | Denis.Perrot@noaa.gov | 3.5
15 | Investigator-2 researcher ID |  | 3.6
16 | Investigator-2 ID type (ORCID, Researcher ID, etc.) |  | 3.7
17 | Investigator-3 name | Kevin Sullivan | 3.1
18 | Investigator-3 institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 3.2
19 | Investigator-3 address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 3.3
20 | Investigator-3 phone | 1-305-361-4382 | 3.4
21 | Investigator-3 email | Kevin.Sullivan@noaa.gov | 3.5
22 | Investigator-3 researcher ID |  | 3.6
23 | Investigator-3 ID type (ORCID, Researcher ID, etc.) |  | 3.7
24 | Data submitter name | Kevin Sullivan | 4.1
25 | Data submitter institution | NOAA/Atlantic Oceanographic and Meteorological Laboratory | 4.2
26 | Data submitter address | 4301 Rickenbacker Causeway, Miami Fl, 33149, USA | 4.3
27 | Data submitter phone | 1-305-361-4382 | 4.4
28 | Data submitter email | Kevin.Sullivan@noaa.gov | 4.5
29 | Data submitter researcher ID |  | 4.6
30 | Data submitter ID type (ORCID, Researcher ID, etc.) |  | 4.7
31 | Title | Partial pressure (or fugacity) of carbon dioxide, temperature, salinity and other variables collected from surface underway observations using carbon dioxide gas analyzer, shower head equilibrator and other instruments from SOOP M/V Las Cuevas cruises in the Gulf of Mexico and Caribbean Sea from 2011-01-06 to 2011-12-31. (NCEI Accession 0162099) | 5
32 | Abstract | In 2009, the Global Carbon Group at NOAA Atlantic Oceanographic and Meteorological Laboratory (AOML), in collaboration with Methanol Holdings LTD and the National Aeronautics and Space Administration (NASA), outfitted the commercial tanker Las Cuevas with an automated system to measure surface pCO2, temperature and salinity levels in the Atlantic Ocean, the Gulf of Mexico and the Caribbean Sea (http://www.aoml.noaa.gov/ocd/gcc/lascuevas_introduction.php). This data set archive is the Sea Surface and Atmospheric fCO2 data measured in the Gulf of Mexico and Caribbean Sea during the M/V Las Cuevas 2011 SOOP cruises. | 6
33 | Purpose | The major objectives of this SOOP project is to provide a high quality measurements of atmospheric and sea surface fCO2, sea surface salinity, temperature, and other parameters, in the Caribbean Sea and Atlantic Ocean. | 7
34 | Start date | 2011-01-06 | 8.1
35 | End date | 2011-12-31 | 8.2
36 | Westbd longitude | -97.2 | 9.1
37 | Eastbd longitude | -59 | 9.2
38 | Northbd latitude | 50 | 9.3
39 | Southbd latitude | 10 | 9.4
40 | Geographic names | Atlantic Ocean, Carribean Sea, Gulf of Mexico | 11
41 | Funding agency name | NOAA's Climate Program Office Program | 13.1
42 | Funding project title | Surface Water pCO2 Measurements from Ships of Opportunity (SOOP) | 13.2
43 | Funding project ID (Grant no.) |  | 13.3
44 | Research projects |  | 14
45 | Platform-1 name | M/V Las Cuevas Commercial Tanker | 15.1
46 | Platform-1 ID | 74X1 | 15.2
47 | Platform-1 type | SOOP Lines | 15.3
48 | Platform-1 owner | Greenlight Transport S.A. | 15.4
49 | Platform-1 country | UK | 15.5
50 | EXPOCODE | 74X120110106, 74X120110529, 74X120110629, 74X120110720, 74X120110809, 74X120111210 | 16
51 | Cruise ID | LasC01-11, LasC07-11, LasC08-11, LasC09-11, LasC10-11, LasC14-11 | 17
52 | Section |  | 18
53 | Author list for citation | Wanninkhof, Rik; Pierrot, Denis; Sullivan, Kevin | 19
54 | References | Pierrot, D.; Neill, C.; Sullivan, K.; Castle, R.; Wanninkhof, R.; Luger, H.; Johannessen, T.; Olsen, A.; Feely, R.A.; and Cosca, C.E. (2009). Recommendations for autonomous underway pCO2 measuring systems and data-reduction routines. Deep-Sea Res., II, v. 56, pp. 512-522. Feely, R.A., R. Wanninkhof, H.B. Milburn, C.E. Cosca, M. Stapp, and P.P. Murphy, A new automated underway system for making high precision pCO2 measurements onboard research ships, Analytica Chim. Acta, 377, 185-191, 1998. Wanninkhof and Thoning, Measurement of fugacity of Carbon Dioxide in surface water and air using continuous sampling methods, Marine Chemistry, 44, 189-205, 1993. | 20
55 | Supplemental information | http://www.aoml.noaa.gov/ocd/gcc/lascuevas_introduction.php | 21
56 | DIC: Variable abbreviation in data files |  | 22.1
57 | DIC: Variable unit |  | 22.5
58 | DIC: Observation type |  | 22.2
59 | DIC: Measured or calculated |  | 22.6
60 | DIC: Calculation method and parameters |  | 22.7
61 | DIC: Sampling instrument |  | 22.8
62 | DIC: Analyzing instrument |  | 22.9
63 | DIC: Detailed sampling and analyzing information |  | 22.10
64 | DIC: Field replicate information |  | 22.11
65 | DIC: Standardization technique description |  | 22.12.1
66 | DIC: Frequency of standardization |  | 22.12.2
67 | DIC: CRM manufacturer |  | 22.12.3.1
68 | DIC: Batch number |  | 22.12.3.2
69 | DIC: Poison used to kill the sample |  | 22.13.1
70 | DIC: Poison volume |  | 22.13.2
71 | DIC Poisoning correction description |  | 22.13.3
72 | DIC: Uncertainty |  | 22.14
73 | DIC: Data quality flag description |  | 22.15
74 | DIC: Method reference (citation) |  | 22.16
75 | DIC: Researcher Name |  | 22.17.1
76 | DIC: Researcher Institution |  | 22.17.2
77 | TA: Variable abbreviation in data files |  | 23.1
78 | TA: Variable unit |  | 23.5
79 | TA: Observation type |  | 23.2
80 | TA: Measured or calculated |  | 23.6
81 | TA: Calculation method and parameters |  | 23.7
82 | TA: Sampling instrument |  | 23.8
83 | TA: Analyzing instrument |  | 23.9
84 | TA: Type of titration |  | 23.1
85 | TA: Cell type (open or closed) |  | 23.11
86 | TA: Curve fitting method |  | 23.12
87 | TA: Detailed sampling and analyzing information |  | 23.13
88 | TA: Field replicate information |  | 23.14
89 | TA: Standardization technique description |  | 23.15.1
90 | TA: Frequency of standardization |  | 23.15.2
91 | TA: CRM manufacturer |  | 23.15.3.1
92 | TA: Batch Number |  | 23.15.3.2
93 | TA: Poison used to kill the sample |  | 23.16.1
94 | TA: Poison volume |  | 23.16.2
95 | TA: Poisoning correction description |  | 23.16.3
96 | TA: Magnitude of blank correction |  | 23.17
97 | TA: Uncertainty |  | 23.18
98 | TA: Data quality flag description |  | 23.19
99 | TA: Method reference (citation) |  | 23.2
100 | TA: Researcher Name |  | 23.21.1
101 | TA: Researcher Institution |  | 23.21.2
102 | pH: Variable abbreviation in data files |  | 24.1
103 | pH: pH scale |  | 24.9
104 | pH: Observation type |  | 24.2
105 | pH: Measured or calculated |  | 24.5
106 | pH: Calculation method and parameters |  | 24.6
107 | pH: Sampling instrument |  | 24.7
108 | pH: Analyzing instrument |  | 24.8
109 | pH: Temperature of measurement |  | 24.1
110 | pH: Detailed sampling and analyzing information |  | 24.11
111 | pH: Field replicate information |  | 24.12
112 | pH: Standardization technique description |  | 24.13.1
113 | pH: Frequency of standardization |  | 24.13.2
114 | pH: pH values of the standards |  | 24.13.3
115 | pH: Temperature of standardization |  | 24.13.4
116 | pH: Temperature correction method |  | 24.14
117 | pH: at what temperature was pH reported |  | 24.15
118 | pH: Uncertainty |  | 24.16
119 | pH: Data quality flag description |  | 24.17
120 | pH: Method reference (citation) |  | 24.18
121 | pH: Researcher Name |  | 24.19.1
122 | pH: Researcher Institution |  | 24.19.2
123 | pCO2A: Variable abbreviation in data files | fCO2_SW@SST | 25.1
124 | pCO2A: Variable unit | uatm | 25.5
125 | pCO2A: Observation type | Surface underway | 25.2
126 | pCO2A: Measured or calculated | Measured | 25.6
127 | pCO2A: Calculation method and parameters |  | 25.7
128 | pCO2A: Sampling instrument | Seawater pump | 25.8
129 | pCO2A: Location of seawater intake | Sea chest under the engine room | 25.9
130 | pCO2A: Depth of seawater intake | 7 meters | 25.1
131 | pCO2A: Analyzing instrument | Infrared Analyzer: LI-COR model 6262 | 25.11
132 | pCO2A: Detailed sampling and analyzing information | Pierrot, D., C. Neil, K. Sullivan, R. Castle, R. Wanninkhof, H. Lueger, T. Johannessen, A. Olsen, R. A. Feely, and C. E. Cosca (2009), Recommendations for autonomous underway pCO2 measuring systems and data reduction routines, Deep-Sea Res II, 56, 512-522 | 25.12
133 | pCO2A: Equilbrator type | Sprayhead above dynamic pool, no thermal jacket | 25.13.1
134 | pCO2A: Equilibrator volume (L) | 0.95 L (0.4 L water, 0.55 L headspace) | 25.13.2
135 | pCO2A: Vented or not | Vented | 25.13.3
136 | pCO2A: Water flow rate (L/min) | 1.5 - 2.0 L/min | 25.13.4
137 | pCO2A: Headspace gas flow rate (L/min) | 70 - 150 ml/min | 25.13.5
138 | pCO2A: How was temperature inside the equilibrator measured . | Hart Scientific model 1521 digital thermometer | 25.13.6
139 | pCO2A: How was pressure inside the equilibrator measured. | External Setra 270 connected to the exit of the analyzer | 25.13.7
140 | pCO2A: Drying method for CO2 gas | Gas stream passes through a thermoelectric condenser (~5 C) and then through a Perma Pure (Nafion) dryer before reaching the analyzer (90% dry). | 25.14
141 | pCO2A: Manufacturer of the gas detector | Licor, Inc | 25.15.1
142 | pCO2A: Model of the gas detector | Licor 840A (13June2010-end) | 25.15.2
143 | pCO2A: Resolution of the gas detector | Accuracy: +/- 2 uatm in fCO2_SW | 25.15.3
144 | pCO2A: Uncertainty of the gas detector | Precision: +/- 0.01 uatm in fCO2_SW | 25.15.4
145 | pCO2A: Standardization technique description | The system runs a full cycle in approximately 7 hours. The cycle starts with 4 standard gases, then measures three rounds of 6 atmopherice samples followed by 50 surface water samples. Each new gas is flushed through the Licor Analyzer for 2 minutes prior to a stop-flow measurement. | 25.16.1
146 | pCO2A: Frequency of standardization | Every 7 hours | 25.16.2
147 | pCO2A: Manufacturer of standard gas | Standard gases are supplied by NOAA Earth System Research Laboratory, Global Monitoring Division, in Boulder, CO, and are directly traceable to the WMO scale. | 25.16.3.1
148 | pCO2A: Concentrations of standard gas | Std 1: CA3095, 247.01 ppm, owned by AOML, used every 4.5 hours. Std 2: CA3880, 318.94 ppm, owned by AOML, used every 4.5 hours. Std 3: CA5979, 381.89 ppm, owned by AOML, used every 4.5 hours. Std 4: CA6380, 448.29 ppm, owned by ESRL, used every 4.5 hours. | 25.16.3.2
149 | pCO2A: Uncertainties of standard gas | 0.01 ppm | 25.16.3.3
150 | pCO2A: Water vapor correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.17
151 | pCO2A: Temperature correction method | Details of the data reduction are described in Pierrot, et.al. (2009). | 25.18
152 | pCO2A: at what temperature was pCO2 reported | In situ sea surface temperature | 25.19
153 | pCO2A: Uncertainty |  | 25.2
154 | pCO2A: Data quality flag description | WOCE quality control flags are used: 2 = good value, 3 = questionable value, 4 = bad value | 25.21
155 | pCO2A: Method reference (citation) | Pierrot, D., C. Neil, K. Sullivan, R. Castle, R. Wanninkhof, H. Lueger, T. Johannessen, A. Olsen, R. A. Feely, and C. E. Cosca (2009), Recommendations for autonomous underway pCO2 measuring systems and data reduction routines, Deep-Sea Res II, 56, 512-522 | 25.22
156 | pCO2A: Researcher Name | Denis Pierrot | 25.23.1
157 | pCO2A: Researcher Institution | NOAA/AOML | 25.23.2
158 | pCO2D: Variable abbreviation in data files |  | 26.1
159 | pCO2D: Variable unit |  | 26.5
160 | pCO2D: Observation type |  | 26.2
161 | pCO2D: Measured or calculated |  | 26.6
162 | pCO2D: Calculation method and parameters |  | 26.7
163 | pCO2D: Sampling instrument |  | 26.8
164 | pCO2D: Analyzing instrument |  | 26.9
165 | pCO2D: Storage method |  | 26.1
166 | pCO2D: Seawater volume (mL) |  | 26.11
167 | pCO2D: Headspace volume (mL) |  | 26.12
168 | pCO2D: Temperature of measurement |  | 26.13
169 | pCO2D: Detailed sampling and analyzing information |  | 26.14
170 | pCO2D: Field replicate information |  | 26.15
171 | pCO2D: Manufacturer of the gas detector |  | 26.16.1
172 | pCO2D: Model of the gas detector |  | 26.16.2
173 | pCO2D: Resolution of the gas detector |  | 26.16.3
174 | pCO2D: Uncertainty of the gas detector |  | 26.16.4
175 | pCO2D: Standardization technique description |  | 26.17.1
176 | pCO2D: Frequency of standardization |  | 26.17.2
177 | pCO2D: Temperature of standardization |  | 26.17.3
178 | pCO2D: Manufacturer of standard gas |  | 26.17.4.1
179 | pCO2D: Concentrations of standard gas |  | 26.17.4.2
180 | pCO2D: Uncertainties of standard gas |  | 26.17.4.3
181 | pCO2D: Water vapor correction method |  | 26.18
182 | pCO2D: Temperature correction method |  | 26.19
183 | pCO2D: at what temperature was pCO2 reported |  | 26.2
184 | pCO2D: Uncertainty |  | 26.21
185 | pCO2D: Data quality flag description |  | 26.22
186 | pCO2D: Method reference (citation) |  | 26.23
187 | pCO2D: Researcher Name |  | 26.24.1
188 | pCO2D: Researcher Institution |  | 26.24.2
189 | Var1: Variable abbreviation in data files | SST_C | 27.1
190 | Var1: Full variable name | Sea Surface Temperature | 27.2
191 | Var1: Variable unit | degrees celcius | 27.7
192 | Var1: Observation type | Surface Underway | 27.4
193 | Var1: Sampling instrument |  | 27.1
194 | Var1: Analyzing instrument | SBE 48, Seabird, Inc. | 27.11
195 | Var1: Detailed sampling and analyzing information | In Bow Thruster room, about 1m after the intake which is directly through the ship's hull, before the SW pump | 27.13
196 | Var1: Field replicate information |  | 27.14
197 | Var1: Uncertainty | Accuracy: 0.005C, Precision: 0.0002C | 27.15
198 | Var1: Data quality flag description |  | 27.16
199 | Var1: Method reference (citation) |  | 27.17
200 | Var1: Researcher Name | Denis Pierrot | 27.21.1
201 | Var1: Researcher Institution | NOAA/AOML | 27.21.2
202 | Var2: Variable abbreviation in data files | SAL_permil | 27.1
203 | Var2: Full variable name | Sea Surface Salinity | 27.2
204 | Var2: Variable unit |  | 27.7
205 | Var2: Observation type | Surface Underway | 27.4
206 | Var2: Sampling instrument |  | 27.1
207 | Var2: Analyzing instrument | SBE 45, Seabird, Inc. | 27.11
208 | Var2: Detailed sampling and analyzing information |  | 27.13
209 | Var2: Field replicate information |  | 27.14
210 | Var2: Uncertainty | Accuracy: +/- 0.005; Precision: 0.0002 | 27.15
211 | Var2: Data quality flag description |  | 27.16
212 | Var2: Method reference (citation) |  | 27.17
213 | Var2: Researcher Name | Denis Pierrot | 27.21.1
214 | Var2: Researcher Institution | NOAA/AOML | 27.21.2
215 | Var3: Variable abbreviation in data files | PRES_ATM@SSP_hPa | 27.1
216 | Var3: Full variable name | Atmospheric Pressure | 27.2
217 | Var3: Variable unit | hPa | 27.7
218 | Var3: Observation type |  | 27.4
219 | Var3: Sampling instrument | Druck RPT350 | 27.1
220 | Var3: Analyzing instrument |  | 27.11
221 | Var3: Detailed sampling and analyzing information |  | 27.13
222 | Var3: Field replicate information |  | 27.14
223 | Var3: Uncertainty | Accuracy: +/- 0.5 hPa; Precision: 0.01 hPa | 27.15
224 | Var3: Data quality flag description |  | 27.16
225 | Var3: Method reference (citation) |  | 27.17
226 | Var3: Researcher Name | Denis Pierrot | 27.21.1
227 | Var3: Researcher Institution | NOAA/AOML | 27.21.2