CROSS Data format

For example: File C2A.1565.70.txt

MOORING ID: C2A        DEPTH:    70 LAT: 33-52.6N   LONG: 118-35.3W  NTZ:   0

SCAN  MMDDYYYY  HHMM   SPEED    DIR  U-COMP  V-COMP    TEMP

00001  10111985  2300    19.5  294.4   -17.8     8.0   11.77

00002  10121985  0000    17.2  307.3   -13.7    10.4   11.81

00003  10121985  0100    15.2  320.1    -9.7    11.7   11.89

00004  10121985  0200    16.3  324.1    -9.6    13.2   11.86

00005  10121985  0300    19.5  326.6   -10.8    16.3   11.68

File format: Data consists of ASCII text files, one file per instrument.

Record 1: Information about the data. Mooring ID, Depth of instrument in meters, Mooring position (Latitude, Longitude), Number of hours to add to time base to convert the time base to GMT (NTZ). Zero indicates the time base is in GMT.

Record 2: Column labels- Scan (SCAN), Date (MMDDYYYY HHMM), speed (SPEED), direction (DIR), u and v component of velocity (U-COMP, V-COMP), Temperature (TEMP) Salinity (SALINITY if computed), Sigma-t (SIGMA-T if computed).

Record 3: data

Scan (character 1-5), MMDDYYYY (character 8-15), HHMM (character 18-21), speed (character 25-29), direction (character 32-36), u-component of velocity (character 39-44), v-component of velocity (character 47-52), temperature (character 56-60), salinity (if computed, character 63-70), Sigma-t (if computed, character 73-79).